## SSRM
1. Study Summary Reporting Module |  |  | INSTRUCTIONS TO DATA PROVIDERS: Use Column E for data entry. Text in italics are instructions (e.g. reporting tips) for the data submitter for individual reporting fields. Text in bold italics are instructions for the data submitter that are applicable to all reporting elements in a section. For additional clarification regarding a reporting field, please refer to the corresponding guidance document for this reporting template.
Red = Recommended
Blue = Optional
RELEVANT MODULE | REPORTING ELEMENT | RECOMMENDED / OPTIONAL | INPUT | NOTES AND INSTRUCTIONS FOR DATA PROVIDERS
1.1. Study Identifiers | 1.1.1. Abstract | Recommended |  | Provide a narrative abstract describing the toxicology study. Identify the test item(s) and Include details of the experimental models, general design (e.g. dose-response, time series, etc.), omics technology used and data omics analyses that were performed. Please also provide a brief description of the results of regulatory interest.
Links to related study records
| 1.1.2. Study identifier | Recommended |  | Provide a unique identifier for this study.
| 1.1.3. Standardised toxicology dataset | Recommended |  | If applicable, provide a link to a standardized toxicology dataset associated with this study. An example is linkage to an OECD test dataset (e.g. IUCLID ESR)
| 1.1.4. Complete omics dataset | Recommended |  | If applicable, provide a link to the complete omics dataset associated with this study. An example is linkage to a MetaboLights, ArrayExpress or NCBI GEO dataset accession number.
Toxicology Experiment Module
1.2. Study Rationale | 1.2.1. Background Information | Recommended |  | Provide necessary background information for the end user to understand the rationale for why the study was undertaken, including the regulatory question(s).
| 1.2.2. Objectives | Recommended |  | Clearly define the objectives of the omic study toward informing the regulatory question. Describe whether the omic study results are intended to be interpreted in isolation or in combination with results from other (non-omics) studies
1.2.3. Test item
| a. Test item name | Recommended
| b. Test Item CAS (if number exists) | Recommended
| c. Test item SMILES | Recommended
| d. Test item IUPAC name | Recommended
| e. Test item - Additional information where available, e.g. InChi, Distributed Structure-Searchable Toxicity (DSSTox) substance identifier (DTXSID), etc. | Optional
| f. Test item - sources of identifiers | Recommended
| 1.2.4. Test System Characteristics (In Vivo) | Enter all characteristics of the in vivo test system that are known. If unknown, report "UNKNOWN". If not an in vivo study, enter "NOT IN VIVO STUDY"
| a. Species | Recommended
| b. Strain | Recommended
| c. Sex | Recommended
| d. Age | Recommended
| 1.2.5. Test System Characteristics (In Vitro) | Enter all characteristics of the in vitro test system that are known. If unknown, report "UNKNOWN". If not an in vitro study, enter "NOT IN VITRO STUDY"
| a. Cell type | Recommended
| b. Species of origin | Recommended
1.2.6. Study Design
| a. Dose levels (including units) | Recommended
| b. Dose intervals (including units) | Recommended
| c. Number of biological replicates per treatment condition | Recommended
| d. Timetable - sample collection | Recommended
1.2.7. Treatment Conditions
| a. Route of administration | Recommended
| b. Identity of vehicle | Recommended
1.2.8. Sample Collection
| a. Type of biological sample for omics (in vitro: cells, cell media, etc.; in vivo: biofluid, cells, tissue, organ, organism, etc.) | Recommended
| b. Sample preservation method | Recommended
Platform-specific Data Acquistion and Processing Reporting Module (DAPRM)
1.3. Data Acquisition and Processing | 1.3.1. DAPRM Module(s) | Recommended
| 1.3.2. Omics technology, manufacturer and model | Recommended |  | Please specify the manufacturer and model of the omics technology used in the experiment (e.g. LC-MS(/MS) - Thermo Scientific Vanquish UHPLC Q Exactive mass spectrometer, Microarray - Affymetrix Mouse Gene 2.0 ST Array, etc)
| 1.3.3. Description and rationale for data acquistion approach | Recommended
| 1.3.4. Sample preparation method | Recommended |  | Please provide a breif description of the sample preparation method (e.g. RNA/metabolite extraction method, cell lysis, etc.)
| 1.3.5. Demonstration of quality of analysis (i.e. QA/QC used) | Recommended
Data Analysis Reporting Module
1.4. Data Analysis | 1.4.1. DARM Module(s) | Recommended |  | Please identify the Data Analysis Reporting Module(s) used in this experiment
| 1.4.2. Description and rationale for data analysis approach | Recommended

## TERM
2. Toxicology Experiment Reporting Module |  |  | INSTRUCTIONS TO DATA PROVIDERS: Use Column D for data entry. Text in italics are instructions (e.g. reporting tips) for the data submitter for individual reporting fields. Text in bold italics are instructions for the data submitter that are applicable to all reporting elements in a section. For additional clarification regarding a reporting field, please refer to the corresponding guidance document for this reporting template.
Red = Recommended
Blue = Optional
REPORTING CATEGORY | REPORTING ELEMENT | RECOMMENDED / OPTIONAL | INPUT | NOTES AND INSTRUCTIONS FOR DATA PROVIDERS
2.1. Study Rationale | 2.1.1. Background information | Recommended
| 2.1.2. Objectives | Recommended
| 2.1.3. Test guideline compliance | Optional |  | If appropriate, please refer to which OECD Test Guidelines have been followed in the performance of the method.
| 2.1.4. Mechanistic understanding | Recommended
| 2.1.5. Model selection | see reporting fields below
| a. For in vivo studies, describe why the selected animal species, model and tissue was used? | Recommended
| b. Rationale for the species and strain used | Recommended
| c. For in vitro studies, describe relevance of test system to tissue/organ/species of interest | Recommended
| 2.1.6. Dose / concentration level and interval selection | Recommended |  | Report dose levels & rationale for dose level selection
| 2.1.7. Route of administration | Recommended |  | Report route of administration and rationale for selecting this route.
| 2.1.8. Time point selection | Recommended |  | Report time points & rational for time point selection
| 2.1.9. Samples and Replicates | see reporting fields below
| a. Biological replicate number | Recommended |  | Report the number of biological replicates used in the study and scientific rationale for group sizes
| b. Number of technical and analytical replicates | Recommended |  | Report the number of technical and/or analytical replicates used in the study and underlying scientific rationale.
| 2.1.10. Limitations | Optional |  | If known, describe study limitations that could affect the outcome of interpretation of results.
2.2 Test and Control items | 2.2.1. Test item name | Recommended
| 2.2.2. Formulation composition (if test item is a mixture) | see reporting fields below
| a. Identify substances that make up the mixture | Recommended
| b. Relative proportions of substances (if known) | Recommended
2.2.3. Preparation of test item (composition)
| a. Concentration of test item | Recommended
| b. Concentration of diluent(s) | Recommended
| c. Identification of impurities | Recommended
| 2.2.4. Physiochemical properties |  | Enter all physiochemical properties of the test article that are known. If unknown, report "UNKNOWN"
| a. Appearance/physical state/colour | Optional
| b. Molecular weight | Recommended
| c. Melting point/freezing point | Optional
| d. Boiling point | Optional
| e. pH | Optional
| f. Viscosity | Optional
| g. Density | Optional
| h. Vapour pressure | Optional
| i. Partition coefficient (octanol/water) | Optional
| j. Water solubility | Optional
| k. Fat solubility of solid and liquid substances | Optional
| l. Particle size distribution/fibre length and diameter distribution (if applicable) | Recommended |  | If test item is not a fiber or particle, input "NA".
| m. Additional physicochemical information (i.e. agglomeration, porosity, etc.) (if applicable) | Optional
| 2.2.5. Chemical Stability |  | Enter all parameters regarding chemical stability of the test article that are known. If unknown, report "UNKNOWN"
| a. Stability in organic solvents and identity of relevant degradation products | Optional
| b. Stability: thermal, sunlight, metals (if relevant) | Optional
| c. Stability: dissociation constant (if relevant) | Optional
| 2.2.6. Commercial Source |  | Enter all parameters regarding test article sourcig that are known. If not reported by commercial source, report "INFO NOT AVAILABLE"
| a. Vendor | Recommended
| b. Manufacture ID | Recommended
| c. Lot (Batch) number | Recommended
| d. Purity | Recommended
| e. Salt form | Recommended
| f. Expiration date | Recommended
| g. Storage | Recommended
| 2.2.7. Test Item-Specific Identifiers |  | Enter all test item specific identifiers that are known and the source if the identifier for each identifier reported. If the test article does not have one of these identifiers, enter "NA"
| a. CAS | Recommended
| b. SMILES | Recommended
| c. IUPAC name | Recommended
| d. Additional information where available (e.g. InChi, Distributed Structure-Searchable Toxicity (DSSTox) substance identifier (DTXSID), etc.) | Optional
| e. Sources of identifiers | Optional
2.3 Test System Characteristics | 2.3.1. General Characteristics of the Test System or Subject (In Vivo) (if applicable) |  | Enter all characteristics of the in vivo test system that are known. If unknown, report "UNKNOWN". If not an in vivo study, enter "NOT IN VIVO STUDY"
| a. Animal species | Recommended
| b. Strain | Recommended
| c. Sex | Recommended
| d. Age during study | Recommended
| e. Developmental stage | Recommended
| f. Individual weights/lengths at start | Recommended |  | Provide a range of weights or a table of weights as as a data object.
| g. Supplier | Recommended
| h. Any interventions that were carried out before or during the experiment | Recommended
| i. Quality criteria before use | Recommended
| j. Health status and acclimation prior to study start | Recommended
| k. Randomisation of animals to groups | Recommended |  | Provide a description of the randomization scheme or a table of group assignments as a data object.
| l. Other | Optional |  | Provide other relevant information regarding the in vivo test system that may be of use for regualtory applications.
| 2.3.2. General Characteristics of the Test System or Subject (In Vitro) (if applicable) |  | Enter all characteristics of the in vitro test system that are known. If unknown, report "UNKNOWN". If not an in vitro study, enter "NOT IN VITRO STUDY"
| a. Cell type (cell line or primary cells, tumour cells, etc.) | Recommended
| b. Origin (animal/organ/tissue) | Recommended
| c. Cell passage number | Recommended
| d. Differentiation stage | Recommended
| e. Absence of mycoplasma | Recommended
| f. Metabolic competence | Recommended
| g. Supplier | Recommended
| h. Quality criteria before use | Recommended
| i. Other | Optional |  | Provide other relevant information on the in vitro test system that may be of use for regulatory applications.
| 2.3.3. Housing and husbandry (In Vivo) |  | Enter all details of the housing and husbandry of test animals used in the toxicology study. If unknown, report "UNKNOWN". If not an in vivo study, enter "NOT IN VIVO STUDY". If a reporting element is not applicable to the in vivo model, enter "NA"
| a. Type of facility (e.g. specific pathogen free [SPF]) | Recommended
| b. Type of cage or housing | Recommended
| c. Bedding material | Recommended
| d. Number of cage companions | Recommended
| e. Tank shape (for fish) and its material | Recommended
| f. Breeding programme | Recommended
| g. Light/dark cycle | Recommended
| h. Temperature | Recommended
| i. Quality of water (e.g. for aquatic toxicity tests) | Recommended
| j. Type of food | Recommended |  | List ingredients in food as detailed as possible, including vendor and lot number.
| k. Access to food and water | Recommended
| l. Environmental enrichment | Recommended
| m. Methods for fertilisation/collection of eggs, if applicable | Recommended
| n. Other | Optional |  | Provide other relevant information on the housing and husbandry of in vivo test subjects that may be of use for regulatory applications.
| 2.3.4. Cell Culture Conditions (In Vitro) (if applicable) |  | Enter all details of the cell culture conditions used in the toxicology study. If unknown, report "UNKNOWN". If not an in vitro study, enter "NOT IN VITRO STUDY". If a reporting element is not applicable to the in vitro model, enter "NA"
a. Incubation characteristics
| i. Temperature | Recommended
| ii. CO₂/O₂ conditions | Recommended
| iii. Humidity | Recommended
| vi. Other | Optional |  | Provide other relevant information on the cell incubation conditions that may of use for regualtory applications. If none, put "NA"
b. State of the cells before use
| i. Viability (include test used) | Recommended
| ii. Quality control | Recommended
| iii. Morphology | Recommended
| iv. Recommended confluency of use | Recommended
| v. Other | Optional |  | Provide other relevant information on the cell culture conditions that may be of use for regulatory applications. If none, put "NA"
c. Culture media (in case of multiple)
| i. Use of serum | Recommended |  | Provide details such as species of origin, age, sex, etc. if known.
| ii. Use of antibiotics | Recommended
d. Growth support substrates (if applicable)
| i. Use of feeder cells | Recommended
| ii. Use of matrixes or scaffolds | Recommended
2.4 Study Design | 2.4.1. 3R considerations
| a. Breifly describe how the study addresses the 3R principles | Optional |  | Briefly describe how the study addresses 3R principles
2.4.2. Dose Selection
| a. Dose levels | Recommended |  | Report each of the dose levels / concentrations used in the study and identify the matched vehicle/solvent controls to be used.
| b. Dose intervals | Recommended |  | Indicate the dose interval (e.g. acute single or chronic dosing) and exposure duration (e.g. hours, days, weeks, or months) used in the study, including units..
2.4.3. Description of test method instruments, equipment and reagents
| a. Commercial source | Recommended |  | Detail the suppliers/manufacturers of instrumentation, other laboratory equipment and reagents relevant to the study.
| b. Manufacturer's instrument model identification | Optional
| c. Manufacturer's reagent and kit information | Recommended
| d. Any special safety/handling requirements | Optional
2.4.4. Types of treatments
| a. Controls | Recommended |  | Provide descriptions of all control sample types used in the toxicology experiment. This includes positive, negative and/or vehicle controls or blanks.
| b. Pre-treatments (e.g. metabolic activation) | Recommended |  | If applicable, describe if any relevant pre-treatments of test subjects or cells occurred prior application of test item that may impact results. Examples would be a switch from growth media to test media for in vitro studies or induction of metabolic enzymes in in vivo studies. If no such pre-treatments were used, report "NONE"
| c. Acclimation | Recommended |  | If applicable, describe acclimiation of test subjects to the testing environment prior to application of test item. If no such acclimiation occurred, reported "NONE".
| d. Types of replicates | Recommended |  | Provide a narrative description of the types of replicates used in the experiment. For example: 1) in in vivo studies, biological replicates are individual animals who receive the same treatment. 2) in vitro studies biological replicates may be considered samples that were administered the same treatment but sampled from independent cultures or replicated experiments. Technical repliaces are treatments tested more than once in the same experiment. Analytical repliactes are samples that will be analyzed twice in the same experiment.
2.4.5. Number of animals/samples per treatment
| a. Biological replicates | Recommended |  | Clearly describe the number of biological replicates in each treatment condition. Information may be provided as a data object. If so, report the file name of the data object.
| b. Technical/analytical replicates | Recommended |  | Clearly describe the number of technical replicates and/or analytical replicates in the study. Information may be provided as a data object. If so, report the file name of the data object
2.4.6. Statistical Design
| a. Exposure design | Recommended |  | Provide a breif description of the statistical approaches used in the toxicology experiment study design to guard against bias in the data. Examples include randomized block, latin square, incomplete block, etc.
| b. Sampling schemes | Recommended |  | Provide a brief description of the sampling scheme used in the toxicology experiment to prevent sample collection bias and to ensure proper sample labeling post-collection. Examples include sequential, stratified, systematic, randomized, ranked set, etc.
| c. Sample blinding | Recommended |  | Provide a breif description of sample blinding approaches used after sample collection to prevent bias in downstream sample processing.
| 2.4.7. Observations/examinations during treatment |  | Enter details regarding observations that may have occurred during the toxicology study that are critical for data interpretation and/or other data streams that may be informative for data interpretation. If such information exists and is deemed relevant by the data provider, please provide a breif description, a link to where such information could be found or name of a data object included with the completed reporting framework.
| a. In-life cage-side or clinical observations, feed consumption, and body weight in for in vivo experiments | Optional
| b. Toxicokinetics | Optional
| c. Histopathology and organ weight | Optional
| d. Clinical chemistry and pathology in in vivo experiments | Optional
| e. Reason animals were removed from the study | Optional
| f. Cytological analyses in in vivo experiments | Optional
| g. Cytobiological examinations in in vitro experiments | Optional
| h. Other biochemical and/or molecular biological analyses | Optional
2.5 Treatment Conditions | 2.5.1. Route of administration (in vivo) | Recommended |  | Indicate the route of administration used in the in vivo toxicology study (e.g. roal, dermal, inhalation, etc). If not an in vivo study, enter "NOT IN VIVO STUDY"
| 2.5.2. Route of administration (in vitro) | Recommended |  | Indicate the route of administration used in the in vitro toxocology study (e.g. dissolution in media, air-liquid interface, etc.). If not an in vitro study, enter "NOT IN VITRO STUDY"
| 2.5.3. Housing condition modifications relevant to test article treatment (in vivo) | Optional |  | Describe any modifications of the in vivo housing conditions that occur before or during test item exposure that may influence the outcome. Examples include fasting periods prior to dosing, application of anesthesia or analgesics, etcs. If not an in vivo study enter "NO IN VIVO STUDY"
| 2.5.4. Culture condition modifications relevant to test article treatment (in vitro) | Optional |  | Describe any modifications of the in vitro cell culture conditions that occur before or during test item exposure that may influence the outcome. Examples include switching from growth media to test media for chemical exposures or using cultureware that limits evaporation or changes gas diffusion properties. If not an in vitro study, enter "NOT IN VITRO STUDY".
| 2.5.5. Test Item Preparation |  | Describe all the steps involves in test item preparation prior to administration to the text subjects (in vivo) or test system (in vitro). If not applicate, input "NA". If unkonwn, input "UNKNOWN"
| a. Dilution in a vehicle | Optional
| b. Preparation steps (warming, grinding, etc.) | Optional
| c. Separation steps (centrifugation, decantation, filtration, etc.) | Optional
| d. Extraction steps (for specific test items, such as medical devices) | Optional
| e. Storage conditions | Optional
| f. Stability during storage | Optional
| g. Expiration date | Optional
| h. Whether nominal or measured concentrations were used, if applicable | Optional
| i. Analytic controls on measured concentrations, if applicable | Optional
| j. Dosing solution homogeneity | Optional
| 2.5.6. Test Item Stability/Reactivity |  | If applicable, describe the method(s) used to assess stability or reactivity of the test item under test conditions or during test item preparation. If not applicable, input "NA".
| a. Stability of the test substance under test conditions | Optional
| b. Solubility and stability in the solvent/vehicle | Optional
| c. Reactivity of the test substance with the solvent/vehicle or the cell culture medium (if applicable) | Optional
| d. Impact of separation and extraction steps on integrity, homogeneity, concentration and stability of the prepared test item | Optional
| 2.5.7. Test Item Preparation for In Vivo Studies |  | If applicable, describe procedures for test item preparation for in vivo toxicology experiments. If an in vivo study was performed and the described reporting fields are not applicable to the study, input "NA". If not an in vivo study, input "NOT IN VIVO STUDY".
| a. Procedures for test substance formulation/diet preparation | Optional
| b. Procedures for generation of test atmosphere and chamber description | Optional
| c. Achieved concentration | Optional
| d. Stability and homogeneity of the preparation | Optional
| e. Test material intake for dietary or drinking water studies. | Optional |  | Conversion from diet/drinking water or inhalation test substance concentration (ppm) to the actual dose (mg/kg body weight/day), if applicable.
| 2.5.8. Vehicle Description and Delivery Volume |  | If applicable, describe procedures for test item preparation for in vivo toxicology experiments. If an in vivo study was performed and the described reporting fields are not applicable to the study, input "NA". If not an in vivo study, input "NOT IN VIVO STUDY".
| a. Identity of the vehicle | Recommended
| b. Delivery volume | Recommended
| c. Final concentration of vehicle in test item preparation | Recommended
| d. Maximum volume of liquid administered | Recommended
| 2.5.9. Exposure Schedule |  | If applicable, describe procedures for test item preparation for in vivo toxicology experiments. If an in vivo study was performed and the described reporting fields are not applicable to the study, input "NA". If not an in vivo study, input "NOT IN VIVO STUDY".
| a. Frequency of test item administration | Recommended
| b. Time of day of dosing (in vivo) | Recommended
| c. Time of dosing after seeding (in vitro) | Recommended
| d. Recovery period | Recommended |  | Specify the length of the recovery period if any (in days, weeks or months) between the cessation of dosing and sample harvest.
| 2.5.10. Housing/Culture Condition Deviations During Treatment |  | If during treatment procedures, conditions are different from those used during normal maintanance (see Section 2.3, Test System Characteristics) please note them here in the reporting fields below. If not applicable, report "NA"
| a. Temperature | Optional
| b. Humidity | Optional
| c. CO₂ % | Optional
| d. pH | Optional
| e. Availability and quality of nutrients | Optional
| f. Other | Optional |  | Describe any deviations from normal maintenance or test procedures that may affect study outcome. If not applicable, report "NA"
2.6. Study Exit and Sample Collection | 2.6.1. Type of biological sample | Recommended |  | Describe the type of biological sample that will be used for omics analysis (e.g. in vitro - 2D or 3D cell culture, single cells, etc.; in vivo - cells, tissues, organs, whole organisms, fresh, frozen or paraffin embedded specimens)
| 2.6.2. Study Exit (In Vivo) |  | If any of the following reporting fields are not applicable to the toxicology study performed, report "NA". If not an in vivo study, report "NOT IN VIVO STUDY"
| a. Anaesthetic used: substance (e.g. isoflurane, ether), dosage, route of administration | Optional |  | If anesthetic was used, include the substance name (e.g. isofluorane, ether), dosage, route of administration, etc.
| b. Analgesic used: substance, dosage, route of administration | Optional |  | If analgesia was used, include the substance name (e.g. Xylazine, Tramadol), dosage, route of admnistration and area of administration
| c. Method of euthanasia | Optional |  | Specify method of euthanasia (e.g. carbon dioxide asphyxiation, exsanguination, etc.)
| d. Phenotypic characteristics | Optional |  | If data on body weight, organ weight or other phenotypic characteristics at time of sample collection were measured, please provide a breif description, link to such data and/or data object.
| e. Methods used for collection of biological sample(s) | Optional |  | Describe the method used for collection of biological samples (e.g. methods for dissection, isolation of tissues or organs, etc.)
| 2.6.3. Study Exit (In Vitro) |  | If any of the following reporting fields are not applicable to the toxicology study performed, report "NA". If not an in vitro study, report "NOT IN VITRO STUDY"
| a. Collection of biological material: method used (e.g. detergent), substance, concentration, duration | Optional |  | Describe the method used for collection of biological samples including addition of sampling reagents (e.g. detergents, lysis buffers, etc.). Include concentration and duration of incubation with lysis reagents.
| b. Cell density at time of harvesting | Optional |  | If applicable, describe the approximate cell density at the time of sample harvest
| c. Growth phase/stage | Optional |  | If applicable, describe the growth phase and/or stage of the cells at the time of sample collection (e.g. proliferative, confluent, differentiated, etc.)
| d. Number of culture passage | Optional |  | If applicble, specify the passage number of the cells used in the experiment.
| e. Morphology | Optional |  | If applicable for omics data interpretation, describe the morphology of the cells at the time of sample collection
| f. Methods used for collection of biological sample(s) | Optional |  | Describe the mechanics of the method used for collection of biological samples (e.g. removal of media, washes, scraping of materials into sampling vials, etc.)
2.6.4. Sampling Vial
| a. Type of vial or tube | Recommended
| b. Chemicals within the sample tube (EDTA, heparins, etc.) | Recommended
| c. Chemicals added to preserve sample(s) (nitrogen, argon, etc.) | Recommended
2.6.5. Washing
| a. Washing solvent(s) | Recommended
| b. Washing procedure (including temperature) | Recommended
2.6.6. Quenching
| a. Quench solvent | Recommended
| b. Quenching procedure (including temperature) | Recommended
2.6.7. Pooling (or Aliquoting) of Samples
| a. Describe any sample pooling procedures | Recommended
2.6.8. Sample Storage and Transport
| a. Post sample collection handling, prior to sample extraction. | Optional
| b. Storage temperature and duration | Optional
| c. Transportation method (e.g., between experimental facilities) | Optional
| d. Number of freeze-thaw cycles | Optional
2.6.9. Time Table
| a. Treatments | Recommended
| b. Sample collections | Recommended
| c. Time since last dose administered | Recommended
| d. Time to sample extractions | Optional
2.7. Sample Identification Codes | 2.7.1. Laboratory information management system (LIMS), if applicable | Optional |  | Describe the LIMS system used for sample management (including software) at the laboratory where samples were generated. If a LIMS system was not used, input "NA"
| 2.7.2 Method/Schema for Assigning Unique Sample Codes | Recommended |  | Describe the methhod / schema used to assign sample codes to test samples.
| 2.7.3. Metadata | Recommended |  | Provide the metadata necessary to track sample provenance and inform downstream processing and or analysis. This information should be provided as a data object. Please specify the file name of the data object here.
2.8. Supporting Data Streams | 2.8.1. Describe any supporting sources of data or information for the study (e.g. cytotoxicity assessment, pilot studies, matched apical data, etc.) | Optional

## DAPRM - Microarray
3.1. Data Acquisition and Processing Reporting Module (DAPRM) for Microarray Data |  |  | INSTRUCTIONS TO DATA PROVIDERS: Use Column D for data entry. Text in italics are instructions (e.g. reporting tips) for the data submitter for individual reporting fields. Text in bold italics are instructions for the data submitter that are applicable to all reporting elements in a section. For additional clarification regarding a reporting field, please refer to the corresponding guidance document for this reporting template.
Red = Recommended
Blue = Optional
REPORTING CATEGORY | REPORTING ELEMENT | RECOMMENDED / OPTIONAL | INPUT | NOTES AND INSTRUCTIONS FOR DATA PROVIDERS
3.1.1. Technology | 3.1.1.1. Type and version of the platform, manufacturer's name and associated genome build | Recommended |  | Descrobe the type an version of the microarray platform. An example of a platform is "Affymetrix U133 Plus 2.0 Array". An example of a genome build is "GenBank version - GRCh38)"
| 3.1.1.2. The unique identifier | Recommended |  | Include the serial numbers of all microarrays used in the study and their mapping to samples. Information may be provided as a data object. If so, please report the data object file name here.
| 3.1.1.3. Feature type | Recommended |  | Describe the feature type used in the microarray technology to measure gene expression (e.g. spotted oligonucleotide, etc.)
| 3.1.1.4. Feature annotation | Recommended |  | Provide either a publically-accessible link or a data object containing the microarray feature annotation. Please provide the link or the file name of the data object in this reporting field.
| 3.1.1.5. Purpose of feature(s) | Recommended |  | Please indicate the purpose of each type of feature included on the microarry technology. Purposes may include measurement of target gene expression, quality control or other purposes. A generalized narrative description of each feature type may be reported or information may be contained in a data object. If the latter, please report the link or name of the data object in this reporting field.
| 3.1.1.6. Composition of feature(s) | Recommended |  | Please indicate the composition of each type of feature included on the microarray technology. Examples of compositions include 'oligo sequence' or 'ligated product sequence', etc. A generalized narrative description of each feature type may be reported or information may be contained in a data object. If the latter, please report the link or name the data object in this reporting field.
| 3.1.1.7. Control console operating system | Recommended |  | Please report the control console operating system that was used to collect the microarray data.
| 3.1.1.8. Other relevant information | Optional |  | Please report any other relevant information regarding the microarray technology that would be needed to assess study quality or for others to reproduce the experiment.
3.1.2. Transcriptomics Experimental Design | 3.1.2.1. RNA Processing |  | Describe methods used for preparation of RNA samples.
| a. Type of extracted RNA (e.g., total RNA, mRNA, miRNA) | Recommended
| b. Extraction and purification techniques | Recommended
| c. Procedures for mRNA enrichment (if applicable), or other enrichment procedures | Recommended
| d. Storage conditions | Recommended
| e. Quantification and Qualification of RNA | see reporting fields below
| i. Tool for RNA assessment | Recommended |  | Describe the instrument used for RNA assessment (e.g., Nanodrop, QuBit, Bioanalyzer, etc.)
| ii. RNA quality | Recommended |  | Describe the RNA quality metric used in the study and the threshold for acceptance / exclusion of samples. Example include A260/A280 ratios, RIN, PERM, etc.). If this type of metric was not used to exlude samples prior to omics data collection, report "NA"
| iii. RNA yield | Recommended |  | Describe the RNA quantity metric used in the study and threshold for accpetance / exclusion of samples. Examples include RNA/gr of tissue or RNA/number of cells, etc. If this type of metric was not used as a sample exclusion criteria, report "NA"
| iv. Performance metrics | Recommended
3.1.2.2. Sample Pooling Protocol (if applicable)
| a. Whether any sample pooling has occurred (samples being combined into one hybridisation) | Recommended |  | Report "YES" or "NO".
| b. Reason for pooling of samples | Recommended
| c. How samples were pooled | Recommended |  | If sample pooling was performed, please describe which samples were pooled with each other and in what ratio.
| d. Other relevant information | Optional |  | Please report any other relevent information regarding sample pooling that would be needed to assess study quality or for others to repeat the experiment. Report "NONE" if no other information will be provided.
3.1.2.3. Batch Processing of Samples (if applicable)
| a. Number of batches | Recommended
| b. Number of samples used in each batch of the microarray experiment | Recommended
| c. How the samples were assigned to each batch (i.e. the criteria) | Recommended |  | If sample batching occurred, describe the criteria used to guide the separation of samples into different batches. If not batching occurred, report "NA".
| d. Method of sample assignment to different batches | Recommended |  | If applicable, describe the method for sample assignment to different batches (e.g. simple randomization, randomized block design, etc.)
3.1.2.4. Linear Amplification, Labelling, cDNA/cRNA Preparation
| a. Labeling protocol | Recommended |  | Describe the labeling protocol in detail. If the labeling protocol is available on a public-facing repository or other accessible location, please provide a link. The protocol may also be provided as a data object. If so, please input the file name of the data object here.
| b. Labeling description | Recommended |  | Describe the properties of the label in detail including at what step the label is added (during reverse transcription or following amplification), the detection chemistry (e.g. fluorescent, radiolabel, etc.), whether the labeling was direct or indirect and when the labeling occures in relationship to hybridization (before or after).
| c. Other relevant information | Optional |  | Please report any other information reqarding linear amplification and sampling labeling that would be needed to assess study quality or for others to repeat the experiment. Report "NONE" if no other information will be provided.
3.1.2.5. Hybridization
| a. Hybridization protocol | Recommended |  | Describe the hybridization protocol in detail. If the hybridization protocol is available on a public-facing repository or other accessible location, please provide a link. The protocol may also be provided as a data object. If so, please input the file name of the data object here.
| b. Hybridization information | Recommended |  | Describe the details of the microarray hybridization including the dates of hybridzation for slides/microarrays, association of physical unit identifiers with sample IDs, hybridization oven temparature and hybridization time. This information may be provided as a data object. If so, please input the file name of the data object here.
3.1.2.6. Scanning of Microarray
| a. Scanning protocol | Recommended |  | Report the name of the microarray scanning protocol
| b. Name of scanning instrument manufacturer | Recommended
| c. Type of instrument (scanner type) | Recommended |  | Report the specific make and model number of the microarray scanner.
| d. Scan tate | Recommended
| e. Scanning time | Recommended
| f. Lasers used (wavelength or type) and power | Recommended
| g. Other pertinent settings | Optional
| h. Description of output type (e.g. .tiff image) | Recommended |  | Provide a description of the output type from microarray scanning (e.g. TIFF image)
| i. Other relevant information | Recommended
| 3.1.2.7. Array Quality Control Metrics/Criteria |  | If quality control procedures were used during microarray data acquisition, describe them below. If controls were not used to assess assay performance, please report "NA" in each reporting field.
| a. Quality control approach/sample type(s) | Recommended |  | Please provide a text description of the types of controls used in the microarray experiment to evaluate assay performance.
| b. Quality control applicability | Recommended |  | Indicate the aspects of sample processing and/or level in the transcriptomics experimental design each type of control sample is intended to address.
| c. Quality control performance metric(s) | Recommended |  | Describe the quality control performance metric(s) used for each quality control approach / sample type.
| d. Quality control accept/reject criteria | Recommended |  | Describe the accept / reject criteria used for each quality controls approach / sample type.
| e. Technical and experimental replicates | Recommended |  | Provide a description of technical and experimental replicates included in the study, their intended use and summary / aggregation strategy across replicates
| f. Evaluation metrics for spike-in controls | Recommended |  | If applicable, describe evaluation metrics for spike-in controls. If not applicable, report "NA".
| g. Reproducibility of replicate probes | Recommended |  | If applicable, provide summary statistics for the reproducibility of replicated probes on each microarrays. Examples of summary statistics include median coefficient of variation (CV) of replicated probes. Information may be provided as a data object. If so, please input the file name of the data object or provide a link. If not applicable, input "NA".
| h. Summary measures of the negative control spots | Recommended |  | If applicable, provide summary statistics for the negative control spots on each microarray. Examples include the mean and standard deviation of signal from negative controls spots. Information may be provided as a data object. If so, please input the file name of the data object or provide a link. If not applicable, input "NA".
| i. Quality control results | Recommended |  | Proviide a summary of quality control results. Include a PASS / FAIL score for each sample for each quality control metric assessed and and indicate which samples were included or excluded based on quality control results. Information may be provided as a data object. If so, please report the file name of the data object here.
| j. Other | Optional |  | Please report any other information regarding quality control practices for acquisition of microarray data that would be needed to assess study quality or for others to repeat the experiemnt. Report "NONE" if no other information will be provided.
3.1.3 Specification of Raw Data | 3.1.3.1. Feature Extraction Software and Outputs
a. Feature extraction software
| i. Name and verison of feature extraction software | Recommended |  | Report the name and version of the feature extraction software.
| ii. Name of grid template/array design file | Recommended |  | Report the name of the grid template/array design file. This file may be provided as a data object. If so, please report the file name or a link to the file on a public-facing repository in this reporting field.
| iii. Name of protocol used | Recommended |  | Report the name of the protocol used for feature extraction. The protocol may be provided as a data object. If so, please report the file name or a link to the file on a public-facing repository in this reporting field.
| iv. Other pertinent settings | Optional |  | Please report any other information on the feature extraction software that would be needed to assess study quality or for others to repeat the experiment, including if a manual fitting or adjustment has been performed. Report "NONE" if no other information will be provided.
b. Output Files
| i. Type of files generated (e.g. raw intensity files, QC metrics, etc.) | Recommended |  | Describe the types of file generated by the feature extraction software (e.g. raw intensity files, QC metrics, QC reports, etc.)
| ii. File extensions (.txt, .pdf) | Recommended |  | Specify the file extensions associated with each output file type generated by the feature extraction software.
| iii. Naming convention | Recommended |  | Describe the naming convention used name raw intensity output files.
| iv. Description of association of quantification matrices with raw data | Recommended
| v. Experimental metadata file | Recommended |  | Provide a data object associating the raw data outputs with pertinent experimental metadata. Input the file name of the data object in this reporting field.
| vi. Retention as part of experimental record? (yes/no) | Recommended |  | Report "YES" or "NO" regarding whether raw output files were retained as part of the experimental record.
| vii. Archiving location | Recommended |  | If raw output files were retained as part of the experimental record and are available on a public-facing repository, please provide a link. If not, please report "NA".
| viii. Other | Optional |  | Please report any other information regarding feature extraction output files that would be needed to assess study quality or for others to repeat the experiment. Report "NONE" if no other information will be provided.
3.1.3.2. Description of Raw Data
| a. Description of raw data table(s) | Recommended |  | Provide a description of the raw data table.
| b. Type of raw data used (e.g. mean, median, processed signal intensities) | Recommended |  | Describe the type of raw data used in the analysis (e.g. mean, median or processed signal intensities)
| c. Background subtraction/correction (yes/no) | Recommended |  | Report "YES" if background subtraction/correction was used. Otherwise, report "NO".
| d. Multiplicative detrending or similar correction for probe variability (yes/no) | Recommended |  | Report "YES" if multiplicative detrending or a similar correction method for probe variability was applied. Otherwise, report "NO".
| e. Removal of flagged features (yes/no) | Recommended |  | Report "YES" if flagged features were removed from downstream analysis. Otherwise, report "NO".
| f. Method of handling replicate probes for calculation of gene level summaries | Recommended |  | Describe the method used for handling of replicate probes for calculation of gene level summaries. Examples include mean and median as the summary statistic.
| g. Applicability, performance metric and acceptance criteria of feature or probe level QC metrics | Recommended |  | Describe any feature or probe level QC metrics were calculated and applied to the data prior to normalization, including the name of the performance metric and the acceptability criteria. If not applicable, report "NA".
| h. Other | Optional |  | Please report any other information regarding the description of the raw data that would be needed to assess study quality or for others to repeat the experiment. Report "NONE" if no other information will be provided.
| 3.1.3.3. Availability of Raw Data |  | Raw, unprocessed gene expression data should be accessible to public / researchers to facilitate reproduction of data processing steps and final results. Please report the following items.
| a. Name of public repository. | Recommended |  | Report the name of the repository containing the raw expression data.
| b. Accession number or equivalent identification number of the submitted data to facilitate data retrieval. | Recommended |  | Report an accession number for the raw expression data files.
| c. Format of submitted data (e.g. .txt, .xls, etc.) | Recommended |  | Provide the file extension(s) of the raw expression data that was submitted to the data repository.
3.1.4. Data Filtering (Pre-normalisation) |  |  | Filtering of microarray data to remove lowly expressed or unreliably detected genes in a common practice and also impacts downstream analyses. There are a variety of approaches for microarray data filtering. Please identify the approach used for data filter and complete the associated reporting fields. Please enter "NA" in reporting firles associated with filtering methods that were not used.
3.1.4.1. Filtering by Signal Intensity
| a. Background Distribution |  | In the reporting fields below, describe how the background distribution was calculated. Report if and how the following (or other) elements were used in the calculation.
| i. Background distribution calculation | Recommended
| ii. Local background from the quantification software | Recommended
| iii. Negative control spots | Recommended
| iv. Signal intensity distribution | Recommended
| v. Other relevant information | Recommended |  | If no other relevant information will be provided, input "NONE"
| b. Background Threshold |  | From the following reporting fiedls, select how the background threshold was determined and indicate the specific threshold used. For approaches that were not used, input "NA".
| i. Statistical test between the probe foreground and background intensity | Recommended
| ii. A statistic estimated from the negative control spots. | Recommended
| iii. Quantile from the signal intensity distribution. | Recommended
| iv. Other relevant information | Recommended |  | If no other relevant information will be provided, input "NONE"
3.1.4.2. Other filtering methods
| a. Other relevant information | Recommended |  | If none of the above filtering methods was used, please report the method that was used following the aforementioned reporting elements
3.1.4.3. Special Scenario
| a. Approach for handling expression ratios with 0 in the denominator | Recommended |  | Please state procedures for values where no ratio (between test and control group) can be calculated because the expression valued is 0 in the control.
3.1.5. Data Normalisation |  |  | There are many approaches for microarray data normalization. Please identify the approach used for data normalization and complete the associated reporting fields. Please enter "NA" in reporting firles associated with normalization methods that were not used in the experiment.
3.1.5.1. Data Normalisation by Manufacturer Process
| a. Manufacturer of the product used for normalization | Recommended
| b. Manufacturer normalisation method used | Recommended
| c. Any deviance from the manufacturer method | Recommended
| d. Software package used and date/version | Recommended
3.1.5.2. Data Normalisation by Mean or Median Centering Within Sample Data Sets (non-scaling)
| a. If the data are one channel (one fluorescent label) or two channels | Recommended
| b. If a background data subtraction was applied and at what point in the process relative to the normalisation step | Recommended
| c. The method of background calculation | Recommended
| d. Describe any weighting procedures that were applied | Recommended
| e. If the data are two channel, report if data were normalized before (on single channels) or after the calculation of the ratio | Recommended
| f. If the data were transformed (e.g. by log2), and if so before or after the normalisation | Recommended
| g. If the data were trimmed before the mean or median (a trimmed mean) was calculated, and if yes, how | Recommended
| h. If control and/or negative sample data were removed from the data set prior to the normalisation | Recommended
| i. Other | Optional
3.1.5.3. Data Normalisation by Mean or Median Centering Across Sample Data Sets (scaling)
| a. If the data are one channel (one fluorescent label) or two channels | Recommended
| b. If a background data subtraction was applied and at what point in the process relative to the normalisation step | Recommended
| c. The method of background calculation | Recommended
| d. Describe any weighting procedures that were applied | Recommended
| e. If the data are two channel, indicate if data were normalised before (on single channels) or after the calculation of the ratio | Recommended
| f. If the data were transformed (e.g. log2), and if so before or after the normalisation | Recommended
| g. If the data were trimmed before the mean (a trimmed mean) was calculated, and if yes how | Recommended
| h. If control and/or negative sample data were removed from the data set prior to the normalisation | Recommended
| i. Which sample data set was used for the calculation of the mean or median to be used as reference mean or median | Recommended |  | A sample data set is that data derived from one sample and consist of a number of data elements, each element corresponding to one gene or feature
| j. Other relevant information | Optional
3.1.5.4. LOWESS normalisation
| a. If the data are one channel (one fluorescent labelling) or two channels | Recommended
| b. If a background data subtraction was applied and at what point in the process relative to the normalisation step | Recommended
| c. The method of background calculation | Recommended
| d. If control and/or negative sample data were removed from the data set prior to the normalisation | Recommended
| e. Describe any weighting procedure that was applied | Recommended
| f. The process used for derivation of the M/A plot | Recommended
| g. The formula used for the calculation of the polynomial fit to the data | Recommended
| h. If the polynomial fit was calculated on the whole sample data set or on a print tip basis | Recommended
| i. Other relevant information | Optional
3.1.5.5. Quantile Normalisation
| a. If the data were ranked on single channel data or calculated ratio data | Recommended
| b. If a background data subtraction was applied and at what point in the process relative to the normalisation step | Recommended
| c. The method of background calculation | Recommended
| d. Any weighting procedures that were applied | Recommended
| e. If the data were transformed (e.g. log2), and if so before or after the normalisation | Recommended
| f. If the data were trimmed before the mean (a trimmed mean) was calculated, and if yes how | Recommended
| g. If control and/or negative sample data were removed from the data set prior to the normalisation | Recommended
| h. Other relevant information | Optional
3.1.5.6. Robust Multiarray Averaging (RMA)
| a. Link to the protocol used | Recommended
| b. How the background was calculated and to which targets if this is applicable | Recommended
| c. Any weighting procedures that were applied. | Recommended
| d. If positive controls (spiked in probes) were used and how these were incorporated in the calculation | Recommended
| e. If the data were ranked on the single channel data or calculated ratio data | Recommended
| f. If the data were transformed (e.g. log2), and if so before or after the normalisation | Recommended
| g. If the data were trimmed before the mean (a trimmed mean) was calculated, and if yes how | Recommended
| h. How the ranking normalisation was achieved | Recommended
| i. Other relevant information | Optional
3.1.5.7. Other normalisation methods
| a. All relevant information | Recommended |  | If none of the above normalisation methods was used, please report the method you used following the aforementioned reporting elements.
3.1.5.8. Availability of normalized data
| a. Name of public repository | Recommended |  | Report the name of the repository containing the normalized expression data.
| b. Accession number or equivalent identification number associated with normalized data | Recommended |  | Report an accession number for the normalized expression data files.
| c. Format of submitted data | Recommended |  | Provide the file extension(s) of the normalized expression data that was submitted to the data repository.
| d. Description of normalized data tables(s) | Recommended |  | Provide a description of the raw data table.
3.1.6. Data Filtering (Post-normalisation) |  |  | Filtering of microarray data to remove lowly expressed or unreliably detected genes in a common practice and also impacts downstream analyses. There are a variety of approaches for microarray data filtering. Please identify the approach used for data filter and complete the associated reporting fields. Please enter "NA" in reporting firles associated with filtering methods that were not used.
3.1.6.1. Filtering by Probe Level Variability
| a. How the probe level variability was measured | Recommended |  | Examples include variance or coefficient of variation of the technical replicates.
| b. How the probe level variability cut-off was determined and applied | Recommended |  | An example is the use of a quantile estimate from the distribution of all probe level estimates.
| c. Other relevant information | Recommended
3.1.6.2. Other Filtering Methods
| a. All relevant information | Recommended |  | Examples include variance or coefficient of variation of the technical replicates.
3.1.7. Identification and Removal of Low Quality or Outlying Data Sets | 3.1.7.1. Outlier and Low Quality Data Removal
| a. Describe how outlier samples were identified and reason for removal | Recommended
| b. Threshold, if any | Recommended
| c. Processing step where exclusion occurs | Recommended
| d. List of samples excluded and per sample justification for exclusion | Recommended
| e. Removal of outliers before normalisation? (if so: provide justification and describe applied algorithm) | Recommended
| f. Removal of additional outliers after normalisation? (if so: provide justification and describe applied algorithm) | Optional
| g. Other relevant information | Optional

## DAPRM - RNA-Seq
3.2. Data Acquisition and Processing Reporting Module (DAPRM) for RNA Seq and Targeted RNA-Seq Data |  |  | INSTRUCTIONS TO DATA PROVIDERS: Use Column D for data entry. Text in italics are instructions (e.g. reporting tips) for the data submitter for individual reporting fields. Text in bold italics are instructions for the data submitter that are applicable to all reporting elements in a section. For additional clarification regarding a reporting field, please refer to the corresponding guidance document for this reporting template.
Red = Recommended
Blue = Optional
REPORTING CATEGORY | REPORTING ELEMENT | RECOMMENDED / OPTIONAL | INPUT | NOTES AND INSTRUCTIONS FOR DATA PROVIDERS
3.2.1. Technology | 3.2.1.1. Type and version of the sequencing platform (e.g. Illumina HiSeq2500) | Recommended
| 3.2.1.2. Size and type of sequencing (e.g. 100 bp paired-end) | Recommended
| 3.2.1.3. Flow cell used (type and catalogue number) | Recommended
| 3.2.1.4. Targeting probe annotation, including list of attenuated genes (if any) (for targeted RNA-Seq only) | Recommended |  | If targeted RNA-Seq is not used in this experiment, report "NA"
| 3.2.1.5. Library type (e.g. mRNA libraries) | Recommended
| 3.2.1.6. Purpose (e.g. target gene expression, quality control, etc.) | Recommended
| 3.2.1.7. Other | Recommended
3.2.2. Transcriptomics Experimental Design | 3.2.2.1. RNA Processing |  | Describe methods used for preparation of RNA samples.
| a. RNA Extraction | see reporting fields below
| i. Type of extracted RNA (e.g. total RNA, mRNA, miRNA, etc.) | Recommended
| ii. Extraction and purification techniques | Recommended
| iii. Procedures for mRNA enrichment (if applicable), or other enrichment procedures | Recommended
| iv. Storage conditions | Recommended
| b. Quantification and Qualification of RNA | see reporting fields below
| i. Tool for RNA assessment | Recommended |  | Describe the instrument used for RNA assessment (e.g. Nanodrop, QuBit, Bioanalyzer, etc.)
| ii. RNA quality | Recommended |  | Describe the RNA quality metric used in the study and the threshold for acceptance / exclusion of samples. Example include A260/A280 ratios, RIN, PERM, etc.). If this type of metric was not used to exlude samples prior to omics data collection, report "NA"
| iii. RNA quantity | Recommended |  | Describe the RNA quantity metric used in the study and threshold for accpetance / exclusion of samples. Examples include RNA/gr of tissue or RNA/number of cells, etc. If this type of metric was not used as a sample exclusion criteria, report "NA"
| 3.2.2.2. Library Preparation |  | Provide descriptions for each of the processing steps below that are applicable to the toxicology experiments and links to proecdures or protocols if posted in a public-facing location.
| a. Library preparation applied | see reporting fields below
| i. Manual library preparation or automated systems (if yes, which automation system) | Recommended
| ii. Fragmentation strategy (if applicable) | Recommended
| iii. Probe manifest (if applicable) | Recommended
| iv. Number of PCR amplification cycles | Recommended
| v. Targeting probe annealing, ligation and PCR amplification steps (if applicable) | Recommended
| iv. Other | Optional |  | If any other steps were used for library preparation, describe them here.
3.2.2.3. Sample Pooling Protocol (if applicable)
| a. Whether any sample pooling has occurred (samples being combined into one sequencing run) – yes/no | Recommended
| b. Indexing strategy (e.g. single/dual barcodes, sizes) | Recommended
| c. Number of samples pooled per sequencing unit (lane or flow cell) | Recommended
| d. Table of barcodes assigned to each sample | Recommended
| e. Other | Recommended
3.2.2.4. Batch Processing of Samples (if applicable)
| a. Number of batches | Recommended
| b. Number of samples used in each batch of the RNA-Seq experiment | Recommended
| c. Method of sample assignment to different batches | Recommended |  | If applicable, describe the method for sample assignment to different batches (e.g. simple randomization, randomized block design, etc.)
3.2.2.5. Wet Lab Quality Control
| a. Use of chip-based automated electrophoresis system on the libraries (join profile if available) | Recommended
| b. Use of spike-in controls | see reporting fields below |  | If applicable, describe the type of spike-in samples used, the amount of sequences used, the source of the spike-in material (manufacturer, catalog #, etc.) and step where the spike in controls were used in the sample processing protocol. If spike-in samples were not used, report "NA".
| i. Type of spike-in used (sequences) | Recommended
| ii. Amount of sequence used | Recommended
| iii. Source of spike-in (manufacturer, catalog number, etc.) | Recommended
| iv. Step of introduction of the spiked control in the protocol | Recommended
| c. Use of Unique Molecular Identifiers (UMIs) | see reporting fields below |  | If applicable, describe the type of UMIs used including the source of the UMIs (manufacturer, catalog #, etc.). If UMIs were not used, report "NA"
| i. Type of UMIs | Recommended
| ii. Source of UMIs (manufacturer, catalog number, etc.) | Recommended
| d. Other | Optional |  | If any other wet lab quality control steps were taken that would aid in interpretation of the toxicology experiment, please describe them here. If not, report "NONE".
3.2.2.6. Sequencing Quality Control/Criteria
| a. Quality control standard | see reporting fields below |  | If applicable, describe the internal control standard used to assess sequencing quality including the type of standard, source (manufacturer, catalog #, etc.) and quantity used. An example is the PhiX genome. If unknown or not applicable, input "UNKNOWN" or "NA", respectively
| i. Type of standard | Recommended
| ii. Source of standard (manufacturer, catalog number, etc.) | Recommended
| iii. Quantity used | Recommended
| b. Sequencing quality metrics | see reporting fields below
| i. Number of clusters passing filtering | Recommended
| ii. Average quality score | Recommended
| iii. Other | Optional |  | If applicable, describe the sequencing quality metrics associated with the sequencing run such as the number of clusters passing filtering, average quality score and any other relevant information. If unkonwn or not applicable, input "UNKNOWN" or "NA", respectively.
3.2.3 Analysis of Raw Data | 3.2.3.1. Base Calling
| a. Base calling software | see reporting fields below
| i. Name and version of base calling software | Recommended
| ii. Quality score version (e.g. Phred33) | Recommended
| iii. Other | Optional
| b. Output files | see reporting fields below
| i. Naming convention (or samples ID metadata) | Recommended
| ii. Experimental metadata file | Recommended |  | Provide a data object associating the raw data outputs with pertinent experimental metadata. Input the file name of the data object in this reporting field.
| iii. Other | Optional
3.2.3.2. Availability of Raw Data
| a. Output files | see reporting fields below
| i. Name of public repository. | Recommended
| ii. Accession number or equivalent identification number of the submitted data to facilitate data retrieval. | Recommended
| iii. Format of submitted data (e.g. .fastq, .fastq.gz, .bam, etc.) | Recommended
3.2.3.3. Raw Data Filtering
| a. Data filtering and trimming | see reporting fields below
| i. Minimum read count | Recommended
| ii. List of samples excluded and rationale (thresholds) for exclusion | Recommended
| iii. Trimming algorigthm/software (e.g. FastQC v0.11.8, Trimmomatic v0.39, etc.) | Recommended
| iv. Trimming parameters (e.g. leading 3, trailing 3, sliding window 4:15, etc.) | Recommended
| v. Other | Optional
3.2.3.4. Sequence Alignment
| a. Alignment | see reporting fields below
| i. Source and version of the genome reference and/or the transcriptome | Recommended |  | Examples include Ensembl Homo sapiens GRCh38 release 99, Top level, primary assembly, masked or not…
| ii. Mapping software | Recommended |  | An example is STAR v2.7.0a
| iii. Mapping parameters (gene or transcript level, number of mismatch, gap penalty, etc.) | Recommended
| iv. Any other relevant information | Optional
3.2.3.5. Gene Quantification
| a. Quantification | see reporting fields below
| i. Source and version of software | Recommended |  | An example is Rsem v1.1.17
| ii. Accession number or equivalent identification number of the submitted data to facilitate data retrieval. | Recommended
| iii. Format of submitted data (e.g. .txt, .csv, .xls, etc.) | Recommended
| iv. Description of method for summarizing transcript or probe counts to gene counts (if applicable) | Optional
| v. Other | Optional
3.2.4. Data Normalisation | 3.2.4.1. Normalisation of the Raw Count
| a. Normalisation method applied | Recommended
| b. Package and version used | Recommended
| c. Factor used as design | Recommended
| d. Other | Optional
3.2.5. Post-Normalisation Data Filtering | 3.2.5.1. Identification and Removal of Low Quality or Outlying Data Sets
| a. Describe how outlier samples were identified and the reason for removal | Recommended
| b. Thresholds, if any | Recommended
| c. Processing steps where exclusion occurred | Recommended
| d. List of samples excluded and per-sample justification for exclusion | Recommended
| e. Other | Optional
3.2.5.2. Identification and Removal of Low Quality or Outlying Data Sets
| a. Specific gene filtering | see reporting fields below
| i. Low read count filtering step (if any) | Recommended
| ii. High variation among replicated filtering step | Recommended
| iii. Other post-normalisation gene filtering steps (e.g. gene flagging) | Recommended
| iv. Other | Optional

## DAPRM - qRT-PCR
3.3. Data Acquisition and Processing Reporting Module (DAPRM) for Quantitative Reverse Transcription Polymerase Chain Reaction (qRT-PCR). |  |  | INSTRUCTIONS TO DATA PROVIDERS: Use Column D for data entry. Text in italics are instructions (e.g. reporting tips) for the data submitter for individual reporting fields. Text in bold italics are instructions for the data submitter that are applicable to all reporting elements in a section. For additional clarification regarding a reporting field, please refer to the corresponding guidance document for this reporting template.
Red = Recommended
Blue = Optional
REPORTING CATEGORY | REPORTING ELEMENT | RECOMMENDED / OPTIONAL | INPUT | NOTES AND INSTRUCTIONS FOR DATA PROVIDERS
3.3.1. Sample Processing | 3.3.1.1. RNA Extraction
| a. Description of instrument(s) used | Recommended |  | Describe any non-standard instruments used for RNA extraction (e.g. automated liquid handler).
| b. Protocol or kit and any modifications | Recommended |  | Provide a reference for the protocol used, including any reagent kits, and note any modifications.
| c. Source of additional reagents | Recommended |  | Indicate the source of any reagents not included in the kits described above.
| d. Details of DNase or RNase treatment | Recommended |  | Indicate whether any Dnase or Rnase treatments were included in the protocol.
| e. Contamination assessment (DNA or RNA) | Recommended |  | Indicate whether any methods were used to assess DNA or RNA contamination, and if so, what method(s).
3.3.1.2. Quantification and Qualification of RNA
| a. Description of instrument(s) used | Recommended |  | Describe the instrument that was used for the quantification and qualification of the RNA input.
| b. Protocol or kit and any modifications | Recommended |  | Provide a reference for the protocol used, including any reagent kits, and note any modifications.
| c. Purity (A₂₆₀/A₂₈₀, and optionally A₂₆₀/A₂₃₀) | Recommended |  | Indicate whether A260/280 and/or A260/A230 values were recorded, and any cut-off criteria for sample exclusion.
| d. Yield | Recommended |  | Describe the minimum RNA yield of the extraction, and/or any cut-off criteria for RNA yield for sample exclusion.
| e. RNA integrity: method/instrument | Recommended |  | Indicate whether RNA integrity was determined, and if so, which instrument and method.
| f. RIN/RQI or ratio of 3' to 5' transcript Cqs | Recommended |  | Indicate the minimum RNA integrity metric of the samples, and/or any cut-off criteria that were used for sample exclusion
| g. Electrophoresis traces | Optional |  | Indicate whether electrophoresis traces of RNA samples were generated.
| h. Inhibition testing (Cq dilutions, spike, or other) | Optional |  | Indicated whether inhibition testing was performed, and if so which method.
3.3.1.3. Reverse Transcription of RNA to cDNA
| a. Description of instrument(s) used | Recommended |  | Describe any instruments used for the reverse transcription reaction
| b. Protocol or kit and any modifications | Recommended |  | Provide a reference for the protocol used, including any reagent kits, and note any modifications.
| c. Amount of RNA and reaction volume | Recommended |  | Indicate the amount of input RNA and reaction volume
| d. Priming oligonucleotide and concentration | Recommended |  | Indicated the concentration of any priming oligonucleotides
| e. Reverse transcriptase and concentration | Recommended |  | Indicate which reverse transcriptase was used and the final reaction concentration
| f. Temperature and time | Recommended |  | Indicate the temperature(s) and time(s) used for the reverse transcription reaction.
| g. Manufacturer of reagents and catalogue numbers | Recommended |  | Indicate the source of any reagents not included in the kits described above.
| h. Cqs with and without reverse transcription | Optional |  | Indicate whether Cqs were determined with and without reverse transcription, and any cut-of values for samples exclusion
| i. Storage conditions of cDNA | Optional |  | Describe the storage conditions of the cDNA samples
3.3.2. qRT-PCR Assay Design | 3.3.2.1. qRT-PCR Protocol
| a. Target detection technology (dye-based, probe-based, other) | Recommended |  | Indicate which technology was used for measuring the target gene(s)
| b. Protocol or kit and any modifications | Recommended |  | Provide a reference for the protocol used, including any reagent kits, and note any modifications.
| c. Number of reactions per sample | Recommended |  | Indicate the number of reactions per sample
| d. Number of gene targets per reaction | Recommended |  | Indicate the number of genes targets measured per reaction
| e. Description of quality control reactions | Recommended |  | Describe any quality control reactions that were run in parallel with the experimental samples, such as any no-template controls, PCR positive controls, or genomic contamination controls.
| f. Reaction volume and amount of cDNA/DNA | Recommended |  | Indicate the amount of input cDNA and volume for each reaction
| g. Primer, (probe), Mg₂+, and dNTP concentrations | Recommended |  | Indicate the concentration of any primers (and probes, if included), magnesium ion (Mg2+) to nucleotides (dNTP) added to the reactions
| h. Polymerase identity and concentration | Recommended |  | Indicate which polymerase was used and the final reaction concentration
| i. Buffer/kit identity and manufacturer | Recommended |  | Identify the buffer or kit used and the manufacturer
| j. Additives (SYBR Green I, DMSO, and so forth) | Recommended |  | Indicated whether any additives were added to the reaction, and if so at what concentration
| k. Exact chemical composition of any custom buffers or reagents, if applicable | Optional
| l. Manufacturer of plates/tubes and catalog number | Optional
| m. Description of instrument(s) used | Recommended |  | Describe the instrument(s) used for qRT-PCR reaction
| n. Complete thermocycling parameters | Recommended |  | Describe the temperature(s), time(s) and number of cycles for each step of the reaction
| o. Fluorescence excitation and emission wavelengths used for data collection | Optional |  | Indicate the wavelength(s) that were used for fluorescence excitation and emission wavelength(s) that were used for data collection
| p. Other relevant instrument/software settings | Optional
| q. Reaction setup (manual/robotic) | Optional |  | Indicate if reactions were prepared manually, or using an automated platform. Identify the automated platform if used.
3.3.2.2. Gene Target Information
| a. Target identifier: Entrez ID preferred, or other identifier (Gene symbol or other database ID) | Recommended |  | Indicate which identifier(s) are used to uniquely identify the target genes
| b. Sequence accession number | Recommended |  | Indicate whether sequence database accession numbers are included for target genes, and which database(s)
| c. What splice variants are targeted? | Recommended |  | Indicate whether splice variants are targeted and how they are differentiated
3.3.2.3. Oligonucleotides and Amplicon
| a. Primer sequences | Recommended |  | Indicate whether primer sequences are available, and where they can be found
| b. Probe sequences (if applicable) | Recommended |  | Indicate whether probe sequences are available, and where they can be found (if applicable)
| c. Location and identity of any modifications on oligos | Recommended |  | Indicate whether information on oligonucleotide modifications is available, and where it can be found (if applicable)
| d. Primer/probe database and identification number | Optional |  | Indicate whether primer or probe information are available in any database
| e. In silico specificity screen (BLAST, or other) | Recommended |  | Describe any in silico screen test that as conducted (e.g. BLAST), and any cut-of criteria that were used
| f. Location of amplicon in target gene | Optional |  | Indicate whether information on the location of the amplicon within the target sequence is available and where it can be found
| g. Location of each primer (and probe, if applicable) by exon or intron, and indicate if intron-spanning | Optional |  | Indicate whether information on the location of each primer (and probe, if applicable) within the target sequence is available and where it can be found
| h. Amplicon length | Recommended |  | Indicate the amplicon length. Can be described as a range, or as any cut-off criteria used for assay development
| i. Secondary structure analysis of amplicon | Optional |  | Indicate whether any secondary structure analysis was conducted and any cut off values that were applied
| j. Manufacturer of oligonucleotides | Optional
| k. Purification method | Optional |  | Indicate what method was used to purify the oligonucleotides
3.3.2.4. Assay Validation
| a. Evidence of optimization (from gradients) | Optional |  | Indicate whether optimization was conducted using primer/probe, Mg2+ or temperature gradients
| b. Specificity (gel, sequence, melt, or digest) | Recommended |  | Indicate whether post amplification assay specificity was tested, and what method(s) was used
| c. Description of target (primer and probes, if applicable) used for no-template controls (NTC) | Recommended |  | Describe the target and any primer and probe sequences for no-template controls (NTCs)
| d. Cq of NTC reactions | Recommended
| e. Calibration curves with slope and y intercept | Recommended |  | Indicate whether amplification efficiency was determined using calibration curves. Describe the slope and intercept values or an cut off values that were used
| f. PCR efficiency calculated from slope | Recommended |  | Describe the PCR amplification efficiency, if determined, or any cut off values that were used
| g. CIs for PCR efficiency or SE | Optional |  | Are confidence intervals provided for the efficiency?
| h. R² of calibration curve | Recommended |  | Describe the R2 values of the calibration curves, or any cut off values
| i. Linear dynamic range | Recommended |  | Describe the linear dynamic range of the calibration curves (the range over which the calibration curve is linear)
| j. Cq variation at LOD | Recommended |  | Indicate whether a limit of detection (LOD) was determined. The LOD is defined as the lowest concentration at which 95% of the positive samples are detected.
| k. CIs throughout range | Optional |  | Confidence intervals of the dynamic range
| l. Evidence for LOD | Optional
3.3.3. Data Analysis | 3.3.3.1. Data Acqusition and Quality Control
| a. qRT-PCR analysis program (source, version) | Recommended |  | Identify the software (source and version) that was used to determine the Cq values from the raw fluorescence data
| b. Method of Cq determination | Recommended |  | Indicate the method that was used to determine the Cq values from the raw fluorescence values
| c. Results for quality control reactions | Recommended |  | Indicate the results from any quality control reactions such as the no template controls, PCR positive controls or genomic contamination controls
| d. Number of technical replicates and how they were produced | Recommended |  | Indicate the number of technical replicates and at what stage the replication occurred (i.e whether a single RNA sample was used for qRT-PCR or a single RT product was split for qPCR)
| e. Treatment of technical replicates (average, median, etc) | Recommended |  | Indicate how data for technical replicates were treated during data analysis. Were replicate data combined, and if so how where the combined (mean, median etc) and at what point during the analysis?
| f. Number and concordance of biological replicates | Optional |  | How many biological replicates were included per treatment and how was sample concordance reported (e.g. SD)?
| g. Repeatability (intraassay variation) | Recommended |  | Indicate whether intra-assay variation was determined. Intra-assay variation refers to the precision of the assay with the same samples repeatedly analyzed in the same assay (technical replicates). It can be expressed as the SD for the Cq variance. Alternatively, the SD for copy number or concentration variance can also be reported
| h. Reproducibility (interassay variation, CV) | Optional |  | Indicate whether inter-assay variance was determined. Inter-assay variation refers to the variation in results between runs or between different laboratories. It can be expressed as the SD or CV of copy numbers or concentrations
| I. Submission of Cq or raw data in public repository | Recommended |  | Indicate whether the raw fluorescence data or Cq data were submitted to a public data repository, and any associated accession number
3.3.3.2. Data Pre-Processing
| a. Identification of low/high expression targets/samples (Cq thresholds) | Recommended |  | Identify any samples or gene targets that had high or low expression, and any threshold values that were used as cut offs
| b. Treatment of low/high expression targets/samples (removed, replaced, etc) | Recommended |  | Indicate how high or low expression samples or gene targets were handled during data analysis (e.g. omitted? Or set a min/max value? Etc.)
| c. Outlier identification and treatment | Recommended |  | Indicate if and how any outlier samples were identified. If so, also indicate how outlier samples were handled during data analysis (e.g. omitted?)
| d. Any transformations applied to data prior to normalization (if any) | Recommended |  | Indicate if any transformations (e.g. logarithmic) were applied to the Cq data prior to normalization
3.3.3.3. Data Normalization
| a. Description of normalization method (reference gene (RG), or other) | Recommended |  | Describe the method that was used data normalization.
| b. RG method: identification of reference genes | Recommended |  | If a reference gene type of normalization was used, please indicated which gene targets were used as references.
| c. RG method: justification for selection of reference genes (evidence of stability) | Recommended |  | If a reference gene type of normalisation was used, please provide a justification for the selection of the reference genes
| d. RG method: was variable amplification efficiency considered in normalization calculations, or assumed to be equal across targets | Recommended |  | Please indicate if inter-target amplification efficiency was considered in the normalization method or if it was assumed to be equal across all targets.
| e. RG method: formula used for normalization | Recommended |  | Please provide the formula used for normalization
| f. For all other methods: Provide sufficient information to reproduce normalization results | Recommended

## DAPRM - MS
3.4. Data Acquisition and Processing Reporting Module (DAPRM) for Mass Spectrometry Metabolomics |  |  | INSTRUCTIONS TO DATA PROVIDERS: Use Column E for data entry. Text in bold italics are instructions for the data submitter that are applicable to all reporting elements in a section. For additional clarification regarding a reporting field, please refer to the corresponding guidance document for this reporting template
Red = Recommended
Blue = Optional
REPORTING CATEGORY | REPORTING ELEMENT | RECOMMENDED / OPTIONAL | INPUT | NOTES AND INSTRUCTIONS FOR DATA PROVIDERS
3.4.1. Overall description and rationale for mass spectrometry metabolomics approach | Overall description and rationale for mass spectrometry metabolomics approach, for example including sample type, extraction method, technology type, processing methods and QA/QC. | Recommended
| Technology type(s) used, e.g. LC-MS, LC-MS/MS, GC-MS, GC-MS/MS, DI-MS, DIMS/MS, or other. | Recommended |  | If the technology type used is not listed in the examples please provide the full name of the technique used as well as the abbreviated form
| Link(s) to relevant SOP(s) or publication(s) of approach used (optional). | Optional
3.4.2. Sample processing and metabolite extraction and addition of chemical reference standards | (3.4.2.1) Extraction method general description
| Extraction method general description, including per-sample amounts, solvent(s) used and their ratios, means of agitation/maceration, temperatures and times, and post extraction handling. | Recommended
| (3.4.2.2) Derivatization of samples | Derivatization required for GC-MS approach - please report as "NA" if derivatization not used
| Derivatization method general description, including reagents and reaction (including temperature and time) and clean-up/partitioning (if used). | Recommended |  | Derivatization only required for GC-MS approaches. Report as "NA" if derivatization not used
(3.4.2.3) Extract concentration and reconstitution in solvent for mass spectrometry analysis
| Drying and reconstitution method general description, including final reconstitution, solvent(s) and final volume (if used), storage temperature (if relevant) and duration of reconstituted extracts (if relevant). | Recommended
(3.4.2.4) Chemical reference standard preparation
| For each new standard (or each named panel of standards) prepared for this study: - Purpose of standard (e.g. extraction (and injection) standard; injection standard only; annotation/identification only; annotation/identification and quantification) - Quantification type (if relevant; e.g. absolute quantification, semi-quantification or relative quantification - see Section 3.4 - Table 1 of OORF Guidance Document) - Calibration methodology (if relevant; e.g. external calibration (without matrix), external matrix-matched calibration, calibration by internal normalisation, standard addition calibration, internal calibration) - Identity, for example including common name and (optional) PubChem CID, HMDB id, KEGG id, CAS, InChI, InChIKey, SMILES - Purity (if known) - Supplier - Preparation method, including whether standard spiked internally into the biological sample or alternative external solution - Concentration(s) | Recommended |  | Details should be included for any chemical reference standards that were prepared for this study. If many chemical reference standards are to be recorded here, it is recommended that a supplemental file with these details should be reported, and referenced here and in the file manifest It should be noted that existing pre-prepared in-house as well as external (both public and commercial) mass spectral libraries of standards can also be used for annotation purposes. In these cases the full details regarding the reference standard preparation might not be known or available and therefore cannot be reported here. Instead the source of the mass spectral library and version should be reported in Section 3.4.5.11
3.4.3. Analytical quality assurance and preparation of quality control samples | (3.4.3.1) QC samples
| Sample details for system suitability QC sample (if used), intrastudy QC sample, intralaboratory QC sample (if used) and interlaboratory QC sample (if used). Should include details of source, preparation details, batch number (if relevant), certificate of analysis (COA) (if relevant), storage conditions and days since preparation. | Recommended
(3.4.3.2) Process blank sample
| Type of process blank, start and end points of the 'process' used to prepare this sample, and storage conditions. | Recommended
(3.4.3.3) Assessment of sample matrix effects (optional)
| Method to assess matrix effects. | Optional |  | Assessing sample matrix effects is particularly important for quantitative targeted metabolomics, and are mostly related to ESI sources
3.4.4. Acquisition of mass spectrometry metabolomics and metabolite data | (3.4.4.1) Mass spectrometry assay type(s)
| Mass spectrometry assay type(s) used (see Section 3.4 - Table 2 of OORF Guidance Document) | Recommended |  | Assay types are listed in Section 3.4 - Table 2 of OORF Guidance Document. One of the following is required to be reported: "Untargeted with relative quantification", "Targeted with relative quantification only", "Targeted with semi-quantification only", "Targeted with absolute quantification only", "Targeted with combination of quantification methods", "Hybrid with relative quantification" or "Hybrid with combination of quantification methods"
| Mass spectrometry assay type description | Recommended |  | Provide a more detailed description of the assay type (e.g. "Hybrid with relative quantification LC-MS(/MS) assays that target a series of toxicologically relevant metabolic biomarkers as well as an untargeted component. Each sample is analysed using four assays: HILIC LC-MS (positive and negative ion modes) for analysis of polar metabolites, C18 LC-MS (positive and negative ion modes) for analysis of lipids. DDA MS/MS analysis of QC samples for compound identification")
(3.4.4.2) Instrument configuration(s) and method(s)
| File(s) summarising instrument configuration and method details of analysis performed. See Section 3.4 - Table 3 of OORF Guidance Document for suggested reporting elements depending on the instrumentation and method applied. | Recommended |  | One or more files supplemental to the main reporting template and referenced here and in the File manifest tab See Section 3.4 - Table 3 of OORF Guidance Document or suggested reporting elements depending on the instrumentation and method applied This may require reporting details for each "assay" performed. For example if performing HILIC LC-MS and C18 LC-MS then the HILIC and C18 assays will a have different configuration and method details
(3.4.4.3) Acquisition order for QC samples, biological samples and reference standard samples
| Describe how sample acquisition order was defined, e.g. frequency of intrastudy QCs, method to randomise biological sample order. | Recommended
| Acquisition order of all types of QC samples, biological samples and reference standard samples (if relevant), thereby indicating the number of pre-conditioning QC samples, the number of process blank samples, and the frequency of analysis of intrastudy QC samples | Recommended
3.4.5. Processing of mass spectrometry metabolomics and metabolite data | (3.4.5.1) Data processing workflow(s)
| Data processing workflow description | Recommended |  | Sharing sufficient details to be able to re-run the full data processing workflow is encouraged and ultimately improves the reproducibility of the data processing
| Name(s) and version(s) of the software used | Recommended
| Script(s)/workflow file(s) or a reference to a URL or DOI of the script(s)/workflow file(s) (optional) | Optional
| Data processing history(ies) or log(s) (optional) | Optional
| Reference to relevant protocol(s) or publication(s) | Optional
(3.4.5.2) Centroiding, baseline correction and noise reduction
| Centroiding, baseline correction and/or noise reduction method(s) and parameters if used. | Recommended
(3.4.5.3) Data reduction
| Data reduction method(s) and parameters used - including (where relevant) details of feature detection/picking, retention time alignment, feature grouping/matching, and feature integration. | Recommended
(3.4.5.4) Feature intensity drift and/or batch correction
| Feature intensity drift and/or batch correction methods and parameters used - including (where relevant) details of signal intensity drift assessment, batch correction, and drift correction within a batch. | Recommended
(3.4.5.5) Identification and removal (‘filtering’) of features
| Methods and parameters used to identify and remove features - including (where relevant) details of removal of features that are sparsely detected across biological and/or intrastudy QC samples, filtering features for repeatability, filtering features for a proportional response function (i.e. linearity), removal of features present in process blanks, and removal of features from dosed substance(s). | Recommended
(3.4.5.6) Identification and removal (‘filtering’) of outlying samples
| Methods and parameters used to identify and remove samples (if used; see section 7.1 for actual samples removed). | Recommended
(3.4.5.7) Normalisation
| Normalisation method(s) and parameters (if used). | Recommended
(3.4.5.8) Missing value imputation
| Missing value imputation method(s) and parameters (if used). | Recommended
(3.4.5.9) Normality testing, scaling and/or transformations
| Normality testing, scaling and/or transformation methods and parameters (if used). | Recommended
(3.4.5.10) Processing methods for metabolite quantification
| Description of method(s) and parameters for metabolite quantification - including (where relevant) for relative- and/or semi- and/or absolute quantification. | Recommended
(3.4.5.11) Processing methods for metabolite annotation and/or identification
| Description of method(s) and parameters for metabolite annotation/identification - including (if relevant) whether reference standards are from in-house or external spectral library(ies) and the spectral library(ies) used. | Recommended
3.4.6. Demonstration of quality of mass spectrometry metabolomics analysis | (3.4.6.1) Mass spectrometer performance report
| Performance achieved using system suitability QC, relative to a laboratory’s acceptance criteria, to confirm instrumentation is fit for purpose. Depending on the assay selected, relevant criteria can include: quantitative reporting of m/z shift; retention time shift; shape and/or intensity of selected peaks. | Recommended
(3.4.6.2) Intrastudy QC precision report
| Measure of a study’s analytical precision achieved using intrastudy QC samples, relative to a laboratory’s acceptance criteria, to confirm analyses are of sufficient quality for regulatory purposes. To include quantitative reporting of the RSDs of feature intensity (mandatory), m/z (optional) and retention time (if relevant; optional), for example reported as the distribution and median of RSD values of all feature intensities across all intrastudy QC samples; and a qualitative assessment of the similarity of intrastudy QCs using PCA, reported as a PCA scores plot from a global analysis of all the biological and intrastudy QC samples. | Recommended |  | Should be reported as a supplemental file to the main reporting template and referenced here and in the File manifest tab
| (3.4.6.3) Intralaboratory QC reproducibility report (optional) | Intralaboratory QC reporting elements only required if intralaboratory assessment performed - otherwise report as NA
| Measure of intralaboratory (and interstudy) reproducibility, using intralaboratory QC samples, to assess any long term differences between separate studies within the laboratory. | Optional |  | Should be reported as a supplemental file to the main reporting template and referenced here and in the File manifest tab
| (3.4.6.4) Interlaboratory QC reproducibility report (optional) | Interlaboratory QC reporting elements only required if interlaboratory assessment performed - otherwise report as NA
| Features (m/z, intensities) detected in interlaboratory QC (e.g. defined features in a (standard) reference material). This reporting is likely to evolve as the community improves its use of interlaboratory QC samples. | Optional |  | Should be reported as a supplemental file to the main reporting template and referenced here and in the File manifest tab
| Measure of interlaboratory reproducibility, using interlaboratory QC samples, to assess any differences between separate laboratories; i.e. performance standard achieved relative to specified amounts of metabolites. | Optional
3.4.7. Outputs: Data matrices from metabolomics assays | (3.4.7.1) Sample list
| For each biological sample: - Unique biological sample identifier; - Order of extraction of biological samples; - Order of mass spectrometric data acquisition; - Whether any biological samples were removed from the study and justification for doing so (e.g. outlier detected using PCA due to limited sample volume). | Recommended |  | Should be reported as supplemental file(s) to the main reporting template and referenced here and in the File manifest tab. Note that reporting elements from section 3.4.7.1 (Sample list), 3.4.7.2 (Metabolite annotation/identification) and 3.4.7.3 (metabolite quantification) can be reported together in an Excel file separated by tabs for each relevant section
(3.4.7.2). Metabolite annotation/identification
| For each feature and/or metabolite: - Analytical identifiers (m/z, retention time (if relevant)fragmentation data (optional)); - Ion form (i.e. adduct, isotope) (if known); - Molecular formula(e) of metabolite (if known); - Monoisotopic molecular mass (if known); - Common metabolite name (if known); - Structural code (e.g. standard InChI string or SMILES) (if known); - Metabolite identifier(s) from relevant database(s) (e.g. PubChem, HMDB); - Common metabolite class name (if relevant). - MSI level of identification (levels 1-4) Level 1 - Identified compound (i.e. confirmed by a reference standard); Level 2 - Putatively annotated compound (i.e. without a chemical reference standard, based upon physicochemical properties and/or spectral similarity with public/commercial spectral libraries); Level 3 - Putatively characterized compound class (i.e. based upon characteristic physicochemical properties of a chemical class of compounds, or by spectral similarity to known compounds of a chemical class); Level 4 - Unknown compound—although unidentified or unclassified these metabolites can still be differentiated and quantified based upon spectral data. - For level 4 only, indicate whether the feature is a ‘known unknown’ or not. The MRF defines a ‘known unknown’ as meaning a consistently observed feature (i.e. consistent m/z and retention time) in the sample matrix under investigation that has been detected repeatedly in one or more laboratories. - m/z experimental error from MS1 data (or threshold used). - Retention time error (or threshold used). - Score for metabolite identification derived from fragmentation data (or threshold used). | Recommended |  | Should be reported as supplemental file(s) to the main reporting template and referenced here and in the File manifest tab. Note that reporting elements from section 3.4.7.1 (Sample list), 3.4.7.2 (Metabolite annotation/identification) and 3.4.7.3 (metabolite quantification) can be reported together in an Excel file separated by tabs for each relevant section
| (3.4.7.3) Metabolite quantification | Relative quantification reporting element only required if relative quantification performed - otherwise report as NA
| Data matrices of all feature/metabolite intensities, across all remaining (i.e. not removed as outliers) biological and intrastudy QCs samples. | Recommended |  | Should be reported as supplemental file(s) to the main reporting template and referenced here and in the File manifest tab. Note that reporting elements from section 3.4.7.1 (Sample list), 3.4.7.2 (Metabolite annotation/identification) and 3.4.7.3 (metabolite quantification) can be reported together in an Excel file separated by tabs for each relevant section
| For each feature/metabolite: - Quantification unit (if relevant) - Type of quantification (relative quantification, semi-quantification, absolute quantification) - RSD of the technical variability of the feature/metabolite intensity derived from repeated measurements of a representative sample, e.g. intrastudy QC sample (optional). | Recommended

## DAPRM - NMR
3.5. Data Acquisition and Processing Reporting Module (DAPRM) for NMR Metabolomics |  |  | INSTRUCTIONS TO DATA PROVIDERS: Use Column E for data entry. Text in bold italics are instructions for the data submitter that are applicable to all reporting elements in a section. For additional clarification regarding a reporting field, please refer to the corresponding guidance document for this reporting template
Red = Recommended
Blue = Optional
REPORTING CATEGORY | REPORTING ELEMENT | RECOMMENDED / OPTIONAL | INPUT | NOTES AND INSTRUCTIONS FOR DATA PROVIDERS
3.5.1. Overall description and rationale for NMR metabolomics approach | Overall description and rationale for NMR spectroscopy metabolomics approach, for example including sample type, extraction method, technology type, processing methods and QA/QC. | Recommended
| Technology type(s) used (e.g. “1D 1H-NMR”, “2D 13C–1H HSQC NMR”, “2D HSQC–TOCSY NMR”, “2D 1H–1H TOCSY” or any other NMR approach used) | Recommended |  | If the technology type used is not listed in the examples please provide the full name of the technique used as well as the abberviated form
| Link(s) to relevant SOP(s) or publication(s) of approach used (optional). | Optional
3.5.2. Sample processing and metabolite extraction and addition of chemical reference standards | (3.5.2.1) Extraction method general description
| Extraction method general description, including per-sample amounts, solvent(s) used and their ratios, means of agitation/maceration, temperatures and times, and post extraction handling. | Recommended
(3.5.2.2) Extract concentration and reconstitution in solvent for NMR analysis
| Drying and reconstitution method general description, including final reconstitution, solvent(s) and final volume (if used), storage temperature (if relevant) and duration of reconstituted extracts (if relevant). | Recommended
(3.5.2.3) Chemical reference standard(s) and their preparation
| For each new standard (or each named panel of standards) prepared for this study: - Purpose of standard (e.g. extraction standard; annotation/identification only; annotation/identification and quantification; chemical shift reference standard) - Quantification type (if relevant; e.g. absolute quantification or relative quantification) - Calibration methodology (if relevant; e.g, external calibration (without matrix), external matrix-matched calibration, calibration by internal normalisation, standard addition calibration, internal calibration) - Identity (including common name and, for example, PubChem CID, HMDB id, KEGG id, CAS, InChI, InChIKey, SMILES) - Purity (if known) - Supplier - Preparation method, including whether standard spiked internally into the biological sample or alternative external solution - Concentration(s) | Recommended |  | Details should be included for any chemical reference standards that were prepared for this study. If many chemical reference standards are to be recorded here, it is recommended that a supplemental file with these details should be reported, and referenced here and in the file manifest
3.5.3. Analytical quality assurance and preparation of quality control samples | (3.5.3.1) QC samples
| Sample details for system suitability QC sample, intrastudy QC sample, intralaboratory QC sample (if used) and interlaboratory QC sample (if used). Should include details of source, preparation details, batch number (if relevant), certificate of analysis (COA) (if relevant), storage conditions and days since preparation. | Recommended
(3.5.3.2) Process blank sample
| Type of process blank(s), start and end points of the 'process' used to prepare this sample, and storage conditions. For NMR, this can include a solvent blank (also known as a buffer blank) and an extraction blank. | Recommended
3.5.4. Acquisition of NMR metabolomics and metabolite data | (3.5.4.1) NMR spectroscopy assay type(s)
| NMR spectroscopy assay type(s) used | Recommended |  | NMR spectroscopy metabolomics assays can be untargeted (i.e. the traditional approach in which no particular metabolites are pre-selected for study) or targeted (e.g. Bruker B.I.MethodsTM such as B.I.QUANT-UR that targets and quantifies up to 150 metabolites). Each assay can have one or more levels of metabolite annotation/identification and quantification. A single toxicology study can comprise a combination of several assays. Provide details as to whether the assay type is targeted or not and to what level of quantification was used e.g." Untargeted NMR with relative quantification"
| NMR spectroscopy assay description | Recommended |  | Provide a more detailed description of the assay type
(3.5.4.2) Instrument configuration(s) and method(s)
| File(s) summarising instrument configuration and method details of analysis performed. See Section 3.5 - Table 1 of Guidance Document for suggested reporting elements depending on the instrumentation and method applied. | Recommended |  | One or more files supplemental to the main reporting template and referenced here and in the File manifest tab See Section 3.5 - Table 1 of OORF Guidance Document for suggested reporting elements depending on the instrumentation and method applied
(3.5.4.3) Acquisition order for QC samples, biological samples and reference standard samples
| Describe how sample acquisition order was defined, e.g. frequency of intrastudy QCs, method to randomise biological sample order. | Recommended
| Acquisition order of all types of QC samples, biological samples and reference standard samples (if relevant), thereby indicating the number of process blank samples, and the frequency of analysis of intrastudy QC samples, etc. Columns of reported table should include: - Run order - File name - Sample type (must be able to distinguish between QC samples, biological samples and process blanks) | Recommended
5. Processing of mass spectrometry metabolomics and metabolite data | (3.5.5.1) Data processing workflow(s)
| Data processing workflow description | Recommended |  | Sharing sufficient details to be able to re-run the full data processing workflow is encouraged and ultimately improves the reproducibility of the data processing
| Name(s) and version(s) of the software used | Recommended
| Script(s)/workflow file(s) or a reference to a URL or DOI of the script(s)/workflow file(s) (optional) | Optional
| Data processing history(ies) or log(s) (optional) | Optional
| Reference to relevant protocol(s) or publication(s) | Optional
(3.5.5.2) Spectral pre-processing
| Spectral pre-processing method(s) and parameters used - including (where relevant) forward and/or backward linear prediction and the number of points for each, window function type and magnitude used for apodisation, zero-filling original and final points count, phasing method (manual or automatic) and parameters, baseline correction method and parameters, and chemical shift calibration method (manual or automatic). | Recommended
(3.5.5.3) Data reduction
| Data reduction method(s) and parameters used - including (where relevant) peak alignment and matching; whether data reduction was applied (i.e. applying binning, and reporting the bin start, bin end and bin width) or full resolution NMR spectra were used; and peak fitting. | Recommended
(3.5.5.4) Resonance intensity drift and/or batch correction (optional)
| Resonance intensity drift and/or batch correction methods and parameters used - including (where relevant) details of signal intensity drift assessment, batch correction, and drift correction within a batch | Recommended
(3.5.5.5) Identification and removal (‘filtering’) of NMR resonances
| Methods and parameters used to identify and remove unwanted resonances - including (where relevant) details of removal of resonances present in process blanks (i.e. solvent blank, buffer blank and/or extraction blank), and removal of resonances from dosed substance(s). | Recommended
(3.5.5.6) Identification and removal (‘filtering’) of outlying samples
| Methods and parameters used to identify and remove samples (if used; see section 7.1 for actual samples removed). | Recommended
(3.5.5.7) Normalisation
| Normalisation method(s) and parameters (if used). | Recommended
(3.5.5.8). Normality testing, scaling and/or transformations
| Normality testing, scaling and/or transformation methods and parameters (if used). | Recommended
(3.5.5.9) Processing methods for metabolite quantification
| Description of method(s) and parameters for metabolite quantification - including (where relevant) for relative and/or absolute quantification. | Recommended
(3.5.5.10) Processing methods for metabolite annotation and/or identification
| General description of method(s) and parameters for metabolite annotation/identification - including the type of NMR data (e.g. 1D, 2D, etc.) collected and the processing parameters used (if relevant), whether reference standards are from external or in-house spectral library(ies), and the spectral library(ies) used. | Recommended
3.5.6. Demonstration of quality of mass spectrometry metabolomics analysis | (3.5.6.1) NMR spectrometer performance report
| Performance achieved using system suitability QC, relative to a laboratory’s acceptance criteria, to confirm instrumentation is fit-for-purpose. To include quantitative reporting of chemical shift reference peak full width at half maximum height (FWHM) without window function applied, 90 degree pulse width, and probe temperature variation. Reporting an image(s) of aligned and stacked spectra for visual inspection is recommended to facilitate an assessment of the general quality of all spectra. | Recommended
(3.5.6.2) Intrastudy QC precision report
| Measure of a study’s analytical precision achieved using intrastudy QC samples, relative to a laboratory’s acceptance criteria, to confirm analyses are of sufficient quality for regulatory purposes. To include quantitative reporting of the RSDs of feature intensity (mandatory), m/z (optional) and retention time (if relevant; optional), for example reported as the distribution and median of RSD values of all feature intensities across all intrastudy QC samples; and a qualitative assessment of the similarity of intrastudy QCs using PCA, reported as a PCA scores plot from a global analysis of all the biological and intrastudy QC samples. | Recommended |  | Should be reported as a supplemental file to the main reporting template and referenced here and in the File manifest tab
| (3.5.6.3) Intralaboratory QC reproducibility report (optional) | Intralaboratory QC reporting elements only required if intralaboratory assessment performed - otherwise report as NA
| Measure of intralaboratory (and interstudy) reproducibility, using intralaboratory QC samples, to assess any long-term differences between separate studies within the laboratory. | Optional |  | Should be reported as a supplemental file to the main reporting template and referenced here and in the File manifest tab
| (3.5.6.4) Interlaboratory QC reproducibility report (optional) | Interlaboratory QC reporting elements only required if interlaboratory assessment performed - otherwise report as NA
| Resonances detected in interlaboratory QC (e.g. defined resonance in a (standard) reference material). This reporting is likely to evolve as the community improves its use of interlaboratory QC samples. | Optional |  | Should be reported as a supplemental file to the main reporting template and referenced here and in the File manifest tab
| Measure of interlaboratory reproducibility (using interlaboratory QC samples) to assess any differences between separate laboratories; i.e. performance standard achieved relative to specified amounts of metabolites. | Optional
3.5.7. Outputs: Data matrices from metabolomics assays | (3.5.7.1) Sample list
| For each biological sample: - Unique biological sample identifier; - Order of extraction of biological samples; - Order of NMR data acquisition; - Whether any biological samples were removed from the study and justification for doing so (e.g. outlier detected using PCA due to limited sample volume). | Recommended |  | Should be reported as supplemental file(s) to the main reporting template and referenced here and in the File manifest tab. Note that reporting elements from section 3.5.7.1 (Sample list), 3.5.7.2 (Metabolite annotation/identification) and 3.5.7.3 (metabolite quantification) can be reported together in an Excel file separated by tabs for each relevant section
(3.5.7.2) Metabolite annotation/identification
| For each resonance and/or metabolite: - Chemical shift value(s) (ppm) for all relevant nuclei; - Multiplicity/splitting pattern (e.g. doublet) for each relevant 1H peak; - Molecular formula (if known); - Common metabolite name (if known); - Structural code (e.g. standard InChI string or SMILES) (if known); - Metabolite identifier(s) from relevant database(s) (e.g. PubChem, HMDB); - Common metabolite class name (if relevant). - MSI level of identification (levels 1-4) - Level 1 - Identified compound (i.e. confirmed by a reference standard); - Level 2 - Putatively annotated compound (i.e. without a chemical reference standard, based upon physicochemical properties and/or spectral similarity with public/commercial spectral libraries); - Level 3 - Putatively characterized compound class (i.e. based upon characteristic physicochemical properties of a chemical class of compounds, or by spectral similarity to known compounds of a chemical class); - Level 4 - Unknown compound—although unidentified or unclassified these metabolites can still be differentiated and quantified based upon spectral data. - For level 4 only, indicate whether the resonance is a ‘known unknown’ or not. The MRF defines a ‘known unknown’ as meaning a resonance in the sample matrix under investigation that has been detected repeatedly in one or more laboratories. | Recommended |  | Should be reported as supplemental file(s) to the main reporting template and referenced here and in the File manifest tab. Note that reporting elements from section 3.5.7.1 (Sample list), 3.5.7.2 (Metabolite annotation/identification) and 3.5.7.3 (metabolite quantification) can be reported together in an Excel file separated by tabs for each relevant section
| (3.5.7.3) Metabolite quantification | Relative quantification reporting element only required if relative quantification performed - otherwise report as NA
| Data matrices of all resonance/metabolite intensities, across all remaining (i.e. not removed as outliers) biological and intrastudy QCs samples. | Recommended |  | Should be reported as supplemental file(s) to the main reporting template and referenced here and in the File manifest tab. Note that reporting elements from section 3.5.7.1 (Sample list), 3.5.7.2 (Metabolite annotation/identification) and 3.5.7.3 (metabolite quantification) can be reported together in an Excel file separated by tabs for each relevant section
| For each resonance/metabolite: - Quantification unit (if relevant) - Type of quantification (relative quantification, absolute quantification) - RSD of the technical variability of the resonance/metabolite intensity derived from repeated measurements of a representative sample, e.g. intrastudy QC sample (optional). | Recommended

## DARM - DAM
4.1. Data Analysis Reporting Module (DARM) for Discovery of Differentially Abundant Molecules - Univariate Methods |  |  | INSTRUCTIONS TO DATA PROVIDERS: Use Column D for data entry. Text in italics are instructions (e.g. reporting tips) for the data submitter for individual reporting fields. Text in bold italics are instructions for the data submitter that are applicable to all reporting elements in a section. For additional clarification regarding a reporting field, please refer to the corresponding guidance document for this reporting template.
Red = Recommended
Blue = Optional
REPORTING CATEGORY | REPORTING ELEMENT | RECOMMENDED / OPTIONAL | INPUT | NOTES AND INSTRUCTIONS FOR DATA PROVIDERS
4.1.1. Inputs | 4.1.1.1. Data Input(s) | Recommended |  | Provide the data object(s) that will be used as input for the DAM analysis. List data object name(s) in the file manifest tab.
| 4.1.1.2. Metadata Inputs(s) | Recommended |  | Provide the metadata object(s) that will be used as input for the DAM analysis. List data object name(s) in the file manifest tab.
4.1.2. Software Documentation | 4.1.2.1. Software | Recommended
| 4.1.2.2. Operating System | Recommended
| 4.1.2.3. Additional Libraries used | Recommended |  | If download hyperlink is not available, operator shall note by stating “this library is not available for download”
| 4.1.2.4. Software Availability | Optional
4.1.3. Contrasts for Which Differentially Abundant Molecules were Identified
| 4.1.3.1. Contrasts | Recommended |  | Provide a data object describing the factors and levels within each factor being compared (e.g. treatment groups versus control).
4.1.4. Assay Experimental Design
| 4.1.4.1. Group Sizes | Recommended |  | Provide a table or listing of the number of samples used for identifying DEGs / DAMs in each group or factor. Should include the sample IDs that be used to match across the report. Information may be provided in a data object. If such information is included in a data object with this submission, please list the file name here.
| 4.1.4.2. Covariance | Recommended |  | Identify which samples may exhibit covariance. This information may be provided as a data object. Information may be provided in a data object. If such information is included in a data object with this submission, please list the file name here. If there is no reason to believe covaraince exists between samples, please provide a justification of this assertion in this reporting field.
| 4.1.4.3. Technical Replicates | Recommended |  | Identify any samples that are technical replicates and why they are technical replicates.
4.1.5. Statistical Analysis to Identify Differentially Abundant Molecules
| 4.1.5.1. Statistical Approach | Recommended |  | Provide the name and brief description of the analysis approach.
| 4.1.5.2. Data Transformation | Recommended |  | Specify if the data have been transformed for statistical analysis and how.
| 4.1.5.3. Effects Models | Recommended |  | If using a general linear model, general linear mixed model, ANOVA, or something similar, specify the effects being modeled including all fixed and random effects, as well as their interactions, if any, and any nesting
| 4.1.5.4. Modeling Inputs | Recommended |  | If using a pairwise comparison approach, such as a Wald’s test, t-test, or non-parametric analogues, specify what values are being used.
| 4.1.5.5. Bayseian Approaches | Recommended |  | If using a Bayesian approach, then standard reporting requirements are required, including specification of any priors, explicit specification of the posterior, specification of what is being modeled to identify the DEG. If Bayesian approaches are not being used, input "NA".
| 4.1.5.6. Decision Criteria | Recommended |  | Describe the nomimal p-value, adjusted p-value, fold-change criteria or any combination thereof used to identify DEGs / discover DAMS
| 4.1.5.7. Other | Recommended |  | If using another approach for ranking and prioritization of DEGs / DAMs, specify the procedure clearly such that anyone could replicate the work should it be neccesary. If not applicate, report "NA"
4.1.6. Outputs
| 4.1.6.1. Output and Supporting Files | Recommended |  | The operator should use the File Manifest tab to describe any outputs or supplementary files associated with the analysis described in this reporting module.

## DARM - MVA
4.2. Data Analysis Reporting Module (DARM) for Multivariate Statistical Analysis Module |  |  | INSTRUCTIONS TO DATA PROVIDERS: Use Column E for data entry. Text in italics are instructions (e.g. reporting tips) for the data submitter for individual reporting fields. Text in bold italics are instructions for the data submitter that are applicable to all reporting elements in a section. For additional clarification regarding a reporting field, please refer to the corresponding guidance document for this reporting template.
Red = Recommended
Blue = Optional
REPORTING CATEGORY | REPORTING ELEMENT | RECOMMENDED / OPTIONAL | INPUT | NOTES AND INSTRUCTIONS FOR DATA PROVIDERS
4.2.1. Inputs | Data Input(s) | Recommended |  | Provide the data object(s) that will be used as input for the analysis. List data object name(s) in the file manifest tab.
| Metadata Inputs(s) | Recommended |  | Provide the metadata object(s) that will be used as input for the analysis. List data object name(s) in the file manifest tab.
4.2.1. Statistical Software | Software | Recommended
| Operating System | Recommended
| Additional Libraries used | Recommended |  | If download hyperlink is not available, operator shall note by stating “this library is not available for download”
| Software Availability | Optional
4.2.2. Experimental conditions for multivariate analysis | Experimental conditions for which differentially abundant molecules were identified
| A table or listing that must include each factor and level within each factor that are being considered in the analysis. | Recommended |  | Provide a data object describing the factors and levels within each factor being compared (e.g. treatment groups versus control).
4.2.3. Assay Experimental Design | Group Sizes, Covariates and Technical Replicates
| Group Sizes | Recommended |  | Provide a table or listing of the number of samples used for analysis of each group or factor. Should include the sample IDs that be used to match across the report. Information may be provided in a data object. If such information is included in a data object with this submission, please list the file name here.
| Covariance | Recommended |  | Identify which samples may exhibit covariance. This information may be provided as a data object. Information may be provided in a data object. If such information is included in a data object with this submission, please list the file name here. If there is no reason to believe covaraince exists between samples, please provide a justification of this assertion in this reporting field.
| Technical Replicates | Recommended |  | Identify any samples that are technical replicates and why they are technical replicates.
4.2.4. Multivariate statistical analysis – unsupervised | Unsupervised | Reporting elements only required if unsupervised multivariate analysis performed - otherwise report elements as NA
| Name and description of the multivariate method | Recommended
| The groups or conditions included in the analysis | Recommended
| The name and description of the variable selection method (If variable selection used) | Recommended
| Selected variables (If variable selection used) | Recommended
| Parameter settings (e.g. scaling method) | Recommended
| Other | Recommended
4.2.5. Multivariate statistical analysis – supervised | Supervised | Reporting elements are only relevant if supervised multivariate analysis performed - otherwise report elements as NA
| Name and description of the multivariate method used | Recommended
| The groups, conditions or factors contrasted or examined in the analysis | Recommended
| The name and description of the variable selection method used (If variable selection used) | Recommended
| Selected variables (If variable selection used) | Recommended
| Parameter settings (e.g. scaling method) | Recommended
| Methods should include clear citations to literature describing them | Recommended
4.2.6. Multivariate statistical analysis - validation | Validation | Reporting elements are only relevant if validation of model performed - otherwise report elements as NA
| Name and description of the model validation method used | Recommended
| Parameter settings | Recommended
| Methods should include clear citations to literature describing them | Recommended
4.2.7. Multivariate statistical analysis - variable importance for feature selection | Variatble importance and feature selection | Reporting elements are only relevant if variable importance and feature selection performed - otherwise report elements as NA
| Name and description of method used for variable importance/selection | Recommended
| Details of how significance threshold determined | Recommended
| Methods should include clear citations to literature describing them. | Recommended
4.2.8. Outputs | Outputs and Supporting Files
| Complete the file manifest included as part of the reporting template. The manifest must include the listing of all files included in the regulatory application package specific to the analysis. Each file in the manifest must be accompanied by a description of the file. If the file being described is a tabular file, then the rows and columns must be described so that anyone can understand the contents of the file. Supporting files may include analysis scripts, software configurations or tables of metadata. The phrase `data object` refers to any machine readable input, output or metadata file. - If unsupervised methods used, output of the unsupervised methods including plots (e.g. PCA scores, loadings, proportion of variance explained) - If supervised methods used, output of the supervised method including plots (e.g. PLS scores, loadings/weights, regression coefficients, proportion of variance in outcome explained by the model) - If validation performed, validation statistics (Q2, error rate, etc) - If feature selection was performed, list of features selected by the method including - Feature importance (e.g. VIP value) - Feature significance (e.g. p-value, if available) | Recommended |  | The operator should use the File Manifest tab to describe any outputs or supplementary files associated with the analysis described in this reporting module.

## DARM - BMD
4.3. Data Analysis Reporting Module (DARM) for Benchmark Dose Analysis and Quantification of Biological Potency. |  |  | INSTRUCTIONS TO DATA PROVIDERS: Use Column D for data entry. Text in italics are instructions (e.g. reporting tips) for the data submitter for individual reporting fields. Text in bold italics are instructions for the data submitter that are applicable to all reporting elements in a section. For additional clarification regarding a reporting field, please refer to the corresponding guidance document for this reporting template.
Red = Recommended
Blue = Optional
REPORTING CATEGORY | REPORTING ELEMENT | RECOMMENDED / OPTIONAL | INPUT | NOTES AND INSTRUCTIONS FOR DATA PROVIDERS
4.3.1. Inputs | 4.3.1.1. Data Input | Recommended |  | Provide the data object(s) that will be used as input for the BMD analysis. List data object name(s) in the file manifest tab.
| 4.3.1.2. Metadata Input | Recommended |  | Provide the metadata object(s) that will be used as input for the DAM analysis. List data object name(s) in the file manifest tab.
4.3.2. Software Documentation | 4.3.2.1. Software | Recommended
| 4.3.2.2. Operating System | Recommended
| 4.3.2.3. Additional Libraries used | Recommended
| 4.3.2.4. Software Availability | Optional
4.3.3. Description of the Data to be Modelled
| 4.3.3.1. Dose Levels | Recommended
| 4.3.3.2. Annotation of Model Substrate Data (MSD) | Recommended
| 4.3.3.3. Version of Platform Annotation that Corresponds to Technology | Recommended
4.3.4. Pre-filtering of Data Prior to Dose-Response Modeling
| 4.3.4.1. Statistical Test Performed to Identify Dose-Responsive MSD | Recommended
| 4.3.4.2. Statistical Threshold Applied | Recommended
| 4.3.4.3. Statistical Multiple Testing Correction Method | Recommended
| 4.3.4.4. Additional Statistical Test Parameters | Recommended |  | Describe any additional statistical parameters that were applied for data filtering that may impact results. An example is the number of iterations that were performed when employing a bootstrap method for p-value calculation.
| 4.3.4.5. Additional Filtering | Recommended |  | Describe any non-statistical parameters that were applied for data filtering that may impact results. An example is a fold-change criteria.
4.3.5. Benchmark Dose Modeling
| 4.3.5.1. BMD Modeling Approach | Recommended
| 4.3.5.2. Method for Final Estimattion of MSD BMD | Recommended
| 4.3.5.3. List of Models Fit to the Data | Recommended
| 4.3.5.4. Model Averaging Approach | Recommended |  | If model averaging was not used in the analysis, report "NA".
| 4.3.5.5. Method for Determining Benchmark Response (BMR; a.k.a. BMR Type) | Recommended
| 4.3.5.6. Benchmark Response (BMR, a.k.a. BMR Factor) | Recommended
| 4.3.5.7. Number of Fitting Iterations | Recommended
| 4.3.5.8. Confidence Interval of the BMD (a.k.a. Confidence Level) | Recommended
| 4.3.5.9. Power Parameter Restriction | Recommended |  | If the power parameter used in any of the curve fits was restricted, report which model(s) and a value. Else, report "NA".
| 4.3.5.10. Variance Assumption | Recommended |  | Report of constant or non-constant variance across doses was assumed for BMD modeling.
| 4.3.5.11. Model Selection | Recommended |  | State the rules used for best model selection.
| 4.3.5.12. Criteria to Identify Models that Extrapolate Outside the Dose Range | Recommended |  | Report any criteria that were used to identify results extrapolated outside of the dose range and how those instances were treated in the analysis.
4.3.6. Determination of Biological Entity or Biological Set Level BMD values
| 4.3.6.1. Biological Entity or Biological Set Annotation Used for the Analysis | Recommended
| 4.3.6.2. MSD Acceptance Criteria for Use in Biological Entity of Set Analysis | Recommended |  | Document all metrics and thresholds used as acceptance criteria for MSD being input into Biological Entity or Set Analysis. If none, report "NA"
| 4.3.6.3. Criteria for Identification of “Active” Biological Sets | Recommended
| 4.3.6.4. Method of Estimating the BMD, BMDL, and BMDU of the Individual Biological Entity or Biological Sets | Recommended
4.3.7. Outputs and Supporting Files
| 4.3.7.1. Output and Supporting Files | Recommended |  | The operator should use the File Manifest tab to describe any outputs or supplementary files associated with the analysis described in this reporting module.

## File Manifest
FILE MANIFEST
INSTRUCTIONS TO DATA PROVIDERS: In addition to information and narrative descriptions captured in these reporting templates, the data submitters should include the data analysis outputs and files that aid the end user in understanding or reproducing the analyses. These files may be analysis scripts, software configuration files or tables of metadata. We refer to the latter file type as "data objects". For large files, we encourage the use of MD5 checksums to ensure integrity of the transferred data files.
FILE DESCRIPTION | FILE NAME | MD5 CHECKSUM (to check integrity of large files where possible)